# MAHANAGAR TELEPHONE NIGAM LIMITED

(A Government of India Enterprise)

PROCUREMENT OF SMF-VRLA BATTERY SETS

ON RATE CONTRACT BASIS

T.E. NO.  AGM (MPL)/Battery Sets/2020-21/01

##### Cost of Tender  Rs 2360 /-

(Including 18% GST)

O/o AGM (MPL)

Room No.111, First Floor,

Eastern Court, New Delhi -110001

Instructions to bidders

The tender shall be submitted through Central Public Procurement Portal website https://eprocure.gov.in/eprocure/app developed by National Informatics Centre (NIC), Ministry of Electronics & Information Technology, GOI.  Your offer complete in all respects as per enclosed documents must be submitted online before submission date and time.

“Bidders are advised to familiarize themselves adequately with the above e-procurement Portal, well in advance, to avoid last minute technical glitches/errors preventing successful uploading of bid within specified time frame.”

The “Instructions to Bidder” and “General (Commercial) Conditions” are applicable for this Tender. However, the clauses mentioned in the “Special Conditions” & “Technical Specifications” will supersede the General (Commercial) Conditions, wherever there is a conflict.

Tender bids shall be opened online.  The representatives of the bidders may attend the bid opening either online after logging on to the online after logging on to the e-procurement portal or at MTNL premises along with Letter of authorization for attending bid opening at following address:-.

Address:-

O/o AGM (MPL)

Room No.111, First Floor,

Eastern Court, New Delhi -110001

Phone No. 011-23738634

Email ID: agmmplnws@bol.net.in

CONTENTS

## S. No.		Title	                               		               Section	                   Page

Checklist					     Annexure-A     		 4-5

1.		Notice Inviting Tender (NIT)				I                 		 6-7

2.		Instructions to bidders.					II                		 8-28

3.		General (Commercial) conditions of contract.		III               		 29-44

4.		Special conditions of contract.				IV                		45-49

5.		Schedule of requirements.			              V	       		  50

PART-A (Techno-Commercial bid)

Deviation Sheet					      Annexure-B		       52

Bid Security Declaration				      Annexure-H                                 53

6.		Technical Specifications					VI	   		       54

7.		Bid Form and Form-A					VII	     		     55-58

8.		Performa for Bid Security.				VIII			      59-60

9. 		Letter of Authorization for Attending bid opening.		IX	    		      61

10.		Indemnity Bond on Rs. 100/- Stamped paper		 X			      62

PART-B	FINANCIAL BID:

11.		Price Schedule						XI	        		      64

PART-C    (Documents required at the time of award of Contract)

12.	           Performance Security Form				 XII	     		     66-67

13                  Addl. Bank Guarantee form                                                 XII (A)          		     68-69

14. 		Performa for Agreement					 XIII	        		     70-71            15.                Format for Self-Certification regarding local

Content (LC) for Telecom product, Services or Works   	 XIV (Annexure-E)                72

16.                 Self declaration regarding issue related to sharing of

Land border 						  Annexure-F                          73

16. 		Warranty Certificate				               XV	          		        74

PART-D	Special instructions to Bidders for e-Tendering  	XV                		   75-78

17. PART -E       Model Mandate Form for ECS                          ANNEXURE-I                                    79

18.  PART-F       Guidelines of MTNL on banning of Business dealing   XVII                                   80-85

19.  PART- G      INTEGRITY PACT					  XVIII	                                86-90

Annexure-A

Check List

Bidders are requested to check that the following documents are submitted with the Techno-commercial bid. This check List should also be submitted (with Yes/ No) with the bid.

| Sr. No. | Check Item | Yes/No |
| --- | --- | --- |
| 1 | Bid is prepared and submitted as per clause no. 14 & 15 of Section-II. |  |
| 2 | Each page of the bid should be properly serially numbered & index should be provided by bidder mentioning total number of pages in the bid document |  |
| 3. | Bidder should mention the all the Item (battery rating in AH) for which he is bidding & submit the Valid and Current Type Approval Certificate/TSEC of the specified GR’s as per clause 2(ii) of section -II |  |
| 3 | Cost of tender document or copy of NSIC Certificate / MSME Registration Certificate as per Clause 8, Section-I has been submitted. |  |
| 4 | Bid Security Declaration or NSIC/MSE Certificate for tendered item as per Clause 12, Section-II has been submitted |  |
| 5 | Valid and Current Type Approval Certificate/TSEC of the specified GR’s as per clause 2(ii) of section -II |  |
| 6 | Average annual turnover in last three financial years i.e. 2017-18, 2018-19 & 2019-20 Proof regarding this shall be submitted by the bidder in the form of Audited Balance Sheet/ Annual Report duly attested along with the techno-commercial bid as evidence that he has financial capability to perform the contract as per clause No. 2(iv) of section-II. |  |
| 7 | One QA Inspection certificate of the product offered as detailed at clause no.2 (iii) of section-II. |  |
| 8 | Format for Self-Certification regarding local content (LC) for Telecom product, Services or Works/ Auditors Report (as the case may be). |  |
| 9 | Self declaration regarding issue related to sharing of land border |  |
| 10 | Articles or Memorandum of Association or partnership deed or proprietorship deed as the case may be as per clause no.10 .1(ii) of section-II. |  |
| 11 | Registration Certificate from State Director of Industries or from Secretariat for Industrial approval (SIA), Ministry of Industries, Government of India as per clause no. 10.1(iii) of section-II. |  |
| 12 | Approval from Reserve Bank of India/SIA in case of foreign collaboration as per clause no.10.1(iv) of section-II. |  |
| 13 | Valid Goods and Services Tax Identification Number (GSTIN). If bidder has opted Composition Scheme under GST, it should be clearly mentioned by bidder in bid document as per clause no.10.1 (xiv) of section-II. |  |
| 14 | In case the bidder intend to supply goods and services from multiple state locations then Goods and Services Tax Identification Number (GSTIN) of all the states where from the suppliers are planned to be made should be provided. |  |
| 15 | A self-declaration along with the evidence that the bidder is not black listed by GST or erstwhile indirect tax authorities. as per clause no 10.1(xv) of section-II |  |
| 16 | ISO Certificate (if available). |  |
| 17 | General POA for authorized signatory should be as required under clause 10(ix) of section-II.(duly notarized) |  |
| 18 | Whether Bid security declaration is valid for 180 days from date of opening of tender. |  |
| 19 | Bid form is filled. See Section VII ( Bid Form and Form-A) |  |
| 20 | Price schedule is filled as per format at Section XI. |  |
| 21 | Declaration regarding any deviation/ Compliance (clause by clause) certificate is submitted as per Annexure B |  |
| 22. | Whether Bid is valid for 150 days from date of opening of tender |  |
| 23 | Indemnity Bond on Rs. 100/- STAMPED PAPER as per section-X ( Duly Notarized) |  |
| 24 | Documentary evidence about technical and production capability necessary to perform the contract as per clause no. 10.2 (ii) of section-II. |  |
| 25 | ECS mandate form as per format given in Annexure-I has been submitted. |  |
| 26 | Valid PAN No. |  |
| 27 | MOU on Integrity Pact |  |
| 28 | Any other document |  |

(Sign. Of the bidder with seal)

# SECTION – I

# NOTICE INVITING TENDER

- On behalf of ED, Mahanagar Telephone Nigam Limited (MTNL) Delhi, on-line Tender under Two-Bid system (Techno-commercial bid & Financial bid) are invited from reputed Indian Registered companies / Firms / agencies / dealers for the supply of batteries

Description:

| S. No. | Item | Qty. | Average Annual Turnover |
| --- | --- | --- | --- |
| 1. | (24*2)48V/600 AH Battery | 28 | 18 Lacs |
| 2. | (24*2)48V/1000 AH Battery | 10 | 11 Lacs |
| 3. | (24*2)48V/1500 AH battery | 06 | 10 Lacs |
| 4. | (24*2)48V/2000 AH Battery | 09 | acs |
| 5. | (24*2)48V/3000 AH Battery | 02 | 7 Lacs |
| 6. | (24*2)48V/4000 AH Battery | 04 | 18 Lacs |
| 7. | (24*2)48V/5000 AH Battery | 02 | 11 Lacs |

Total                                           61

- Bidder can participate one or more than one item of batteries.

Important dates:

| Tender Publishing Date and Time | 02.02.2021 at 18:00 Hrs. |
| --- | --- |
| Document download start Date and Time | 02.02.2021 at 18:30 Hrs 23.05.202 at 1000 Hrs. |
| Clarification start Date and Time | 03.02.2021 at 10:00 Hrs |
| Clarification end Date and Time | 13.02.2021 up to 1700 Hrs |
| Bid Submission start Date and Time | 03.02.2021 at 10:00 Hrs |
| Bid Submission end Date and Time | 04.03.2021 up to 1200 Hrs |
| Technical Bid Opening Date and Time | 05.03.2021 at 1200 Hrs. |

- Tender document fee		:    Rs 2360/-(inclusive of 18% GST)

- The Eligibility conditions for the bidders are detailed in clause-2 of section-II of tender document. Bidder may participate for any or all items. .

- Specification: - As per Section VI of the tender document.

- Bid security Declaration form (Annexure H) or copy of valid NSIC Certificate/ valid Startup /MSME Registration Certificate (if applicable) shall be submitted before the scheduled date and time of opening of the bid to AGM (MPL),Room N0-111,Eastern Court , New Delhi-110001 without which the bid shall be rejected summarily.

- A scanned copy of the bid security Declaration as per Annexure-H / valid NSIC Certificate/ valid Startup /MSME Registration Certificate (if applicable) shall be uploaded along with Techno-Commercial bid.

- Intending bidders may download the tender document which contains full terms and    conditions, detailed description, requirement particulars and all other related formalities to be full-filled by the bidders from the website https://eprocure.gov.in/eprocure/app The cost of tender document can be paid off line in the form of DD/Pay order for Rs2360/- in favor of AO (Cash) Planning, Room No 301, 3rd floor Tax building Eastern Court compound, Janpath New Delhi-100001   before scheduled date and time of opening of bids in O/O AGM (MPL) Room N0-111,Eastern Court , New Delhi-110001.The bidders (Small Scale Units) who are registered with National Small Scale Industries Corporation (NSIC) UNDER SINGLE POINT REGISTRATION SCHEME for the tendered items are exempted from payment of tender document Fee on submission of copy of current and valid NSIC certificate. If the value of procurement is more than their monetary limit, they are not entitled to get free tender document.

- The Start up/ MSEs (Micro & Small Enter prises) units/bidders registered with Start up/ MSME for the tendered items are exempted from payment of tender document Fee on submission of copy of current and valid MSME Registration Certificate. If the value of procurement is more than their monetary limit, they are not entitled to get free tender document.

- The scanned copy of the Demand Draft/ Pay Order for Tender Document Fees or copy of valid NSIC certificate/ valid MSME Registration Certificate (if applicable) shall be enclosed by the bidder in its bid and Demand Draft or copy of valid NSIC certificate/ valid MSME Registration Certificate shall be submitted to AGM (MPL Room N0-111, Eastern Court, New Delhi-110001, before scheduled date and time of opening of the bids.

- The bid without tender fee shall not be entertained. The bid must be accompanied with Bid Security Declaration, without it the bid shall be summarily rejected.

- The techno-commercial bids shall be opened on the stipulated date and in case of the date failing on any holiday or in case of unforeseen contingencies, the bid shall be opened on the next working day at the same time without any further notice. Financial bid of only technically qualified bidders will be opened on a later day based on the scrutiny of the techno-commercial bids.

- MTNL also reserves the right to cancel the tender without assigning any reason.

Asst. Genl. Manager (MPL)

Room No.111, First Floor,	          				 Eastern Court, New Delhi-110001      			Email ID: agmmplnws@bol.net.in

Section-II

INSTRUCTIONS TO BIDDERS

### A.	INTRODUCTION

1.	DEFINITIONS:

  - “The Purchaser” means the Mahanagar Telephone Nigam Limited.

  - “The Bidder” means the individual or firm who participates in this tender and submits its bid.

  - “The Supplier” means the individual or firm supplying the goods/providing services under the contract.

  - “The Goods” means all the equipment, machinery, and/or other materials, which the supplier is required to supply/provide to the purchaser under the contract.

  - “The Advance Purchase Order” (APO) means the intension of the purchaser to place the purchase order on the bidder.

  - “The Purchase Order” (PO) means the order placed by the Purchaser, after the acceptance of LOI by the supplier, duly signed by the purchaser including all attachments and appendices thereto and all documents incorporated by reference therein.  It along with the letter of intent and bid documents constitutes the contract.

  - “The Contract Price” means the price payable to the supplier under the purchase order for the full and proper performance of its contractual obligations.

  - “Validation” is a process of testing the equipment as per the specifications including requirements for use in MTNL network.  Validation is carried out in simulated field environment and includes stability, reliability and environmental tests.

  - PMI (Preference to Make in India):- Minimum Preference in % (of Total Quantity being procured) for Make in India Telecom Products, Services, Works as notified by DoT.

  - Local Content (LC) :- Minimum Local content as a Percentage of Total Bill of Material (Cost of Production) to qualify as Make in India Telecom Products, Services or works as notified by DoT.

  - Class-I local supplier :- Means a supplier or service provider whose goods, services or works offered for procurement , has local content equal to or more than 50% as defined under DPIIT order dated 04th June’2020.For this tender Class I local supplier should have local content =55% or more.

  - Class-II local supplier: - Means a supplier or service provider whose goods, services or works offered for procurement, has a local content more than 20% as defined under DPIIT order dated 04th June’2020.

  - Non - local supplier:- Means a supplier or service provider whose goods, services or works offered for procurement, has a local content less than or equal to  20% as defined under DPIIT order dated 04th June’2020.

  - Margin of Purchase Preference: - It is the maximum extent to which the price quoted by a Class-I Local supplier may be above the L-1 price for the purpose of Purchase Preference.

2.	ELIGIBILITY CONDITIONS:

The bidders should meet all the following eligibility conditions:-

(i) 	This invitation for bidders is open to all Indian firms engaged in manufacture of tendered goods having adequate experience except to those which are blacklisted, banned or debarred from participation during the currency of such punitive measures.

(ii)    The prospective bidder(s) having valid Type Approval Certificate (TAC) /Technical Specification Evaluation Certificate (TSEC) for GR NO:  TEC/GR/TX/BAT-001/04 June 2011 with latest amendment no.1 dated 24.07.2012 and with all the amendments as on date of opening of tender, are eligible to participate in the tender. The bidder will have to enclose a valid TAC/TSEC to establish its eligibility for all items he intends to bids.

(iii) 	(a)The bidder should have successfully executed Educational/ Commercial order issued by MTNL/BSNL for items he intends to bid. One inspection Certificate from QA will be treated as sufficient experience for having supplied Batteries (for which bidder is quoting) to MTNL/BSNL/DOT.

(b)The vendors who have applied for TSEC against referred specifications can also apply and will have to submit proof of application for issue of TSEC and an undertaking that they will submit valid TSEC before opening of financial bids. If valid TSEC is not submitted, their financial bids will not be opened.

(iv)     The successful bidders have to supply the material as per GR mentioned above.  The bidder must have average annual turnover as mention in table of Section-I, in last three financial years i.e.  2017-18, 2018-19 & 2019-20. Proof regarding this shall be submitted by the bidder in the form of Balance Sheet/ Profit & Loss account/Annual Report duly attested along with the techno-commercial bid.

The successful bidders have to supply the items as per technical specification given in tender document at section-VI.

MTNL give relaxation w.r.t condition of prior turnover and prior experience in to all Starts-ups {whether Micro & Small Enterprise (MSEs) or otherwise} subject to meeting of quality and technical specifications in accordance with relevant provisions of tender requirement.

(v)	In compliance to Public Procurement ( Preference to Make in India), Order 2017 dated 04.06.2020 issued by DPITT & DoT notification dated 19.02.2020, any foreign Govt. which is not allowing Indian suppliers to participate and /or compete in procurement of tendered telecom equipment, the bidders from those country(ies) are not allowed to participate in this tender.

(vi)	Preference to Make in India:

1.1 	As per Dept. of Telecommunications Memorandum dated 29.08.2018 i.r.o Public Procurement (Preference to Make in India) Order 2017- Identification of Telecom Products, Services or works reg, there is sufficient local capacity and competition available in the country for the tendered items. Accordingly, all provisions of the Public Procurement (Preference to Make in India) Orders issued by the Department of Promotion of Industry & Industrial Trade dated 04.06.2020 & Department of Telecom Memorandum dated 29.08.2018 shall be applicable in this tender. In case of any modifications in the said orders, the latest order available at the time of due date of bid submission shall be applicable. For the purpose of reference to the bidders, some of the provisions of the said orders are mentioned below:-

1.2	As notified by Dept. of Telecom through office Memorandum dated 29.08.2018, the Preference to Make in India (PMI) shall be 50% with required local content of at least 55% for the tendered items i.e. the 55% quantity will be reserved for local manufacturers who fulfill the PMI (Preference to Make In India) criteria notified by the Govt. of India.

1.3	The Margin of Purchase Preference shall be 20%, it is the maximum extent to which the price quoted by a Class-I Local supplier may be above the L-1 price for the purpose of Purchase Preference. The purchase preference shall be given to only class-I local suppliers, however, class-II local suppliers will not get any purchase preference.

1.4 	The local suppliers, at the time of bidding or solicitation shall be required to indicate % of local content and provide self-certification in the format given in Annex-E that the items offered meets the local content requirement as per DoT notification. They shall also give details of the locations at which local value addition is made.

1.5 	In case of procurement for a value in excess of 10 crore, the Class-I local supplier / Class-II 	local supplier shall be required to provide a certificate from the statutory auditor or cost 	auditor of the company (In case of companies) or from a practicing cost accountant or 	practicing Chartered Accountant (In respect of suppliers other than companies) giving the 	percentage of local content.

1.6	Among all qualified bids, the lowest bid of each item will be termed as   L-1. If L-1 is a class I local supplier, the contract for full quantity will be awarded to L-1.

1.7	If L-1 bid is not from a Class I local supplier, 50% of the tendered quantity shall be awarded to L-1 bidder. Thereafter, the lowest bidder among the class-I local supplier shall be invited to match the L-1 price for the remaining 50% quantity subject to class-I local supplier’s quoted price falling within the margin of Purchase preference mentioned above and contract for that quantity shall be awarded to such class-I local supplier subject to matching the L-1 price. In case such lowest eligible class-I local supplier fails to match the  L-1 price or accepts less than the ordered quantity, the next higher class-I local supplier within the margin of purchase preference shall be invited to match the L-1 price for remaining quantity and so on and contract shall be awarded accordingly. In case some quantity is still left uncovered on class-I local suppliers, then such balance quantity may also be ordered on L-1 bidder.

1.8	Deleted

1.9	In case, if no local supplier as mentioned above participates in the tender, 100% order will be given to L-1 bidder.

(Vii)	Pursuant to Office Memorandum No 6/18/2019-PPD, Dated 23.07.2020 issued by Dept. of expenditure i.r.o. Insertion of rule 144 (xi) in the General Financial Rule (GFR) 2017, following provisions shall be applicable in this tender:-

1.1	Any bidder from a country which shares a land border with India will be eligible to bid in this tender only if the bidder is registered with the competent authority as per the said Memorandum.

1.2	‘Bidder’ including the term ‘tenderer’ mans any person or firm or company, including any member of a consortium or joint venture (that is an association of several persons, or firms or companies), every artificial juridical person not falling in any of the descriptions of bidders stated hereinbefore, including any agency branch or office controlled by such person, participating in a procurement process.

1.3	Bidder from a country which shares a land border with India" for the purpose of this Order means: -

  - An entity incorporated, established or registered in such a country; or

- A subsidiary of an entity incorporated , established or registered in such a country; or

- An entity substantially controlled through entities incorporated. established or registered in such a country; or

- An entity whose beneficial owner is situated in such a country; or

- An Indian (or other) agent of such an entity ; or

- .	A natural person who is a citizen of such a country ; or

- A consortium or joint venture where any member of the consortium or joint venture falls under any of the above

1.4	The beneficial owner for the purpose of (iii) above will be as under:

- In case of a company or Limited Liability Partnership, the beneficial owner is the natural person(s).Who, whether acting alone or together. Or through one or more juridical person, has a controlling ownership interest or who exercises control through other means.

Explanation-

- "Controlling ownership interest" means ownership of or entitlement more than twenty-five per cent. of shares or capital or profits of the company;

- "Control" shall include the right to appoint majority of the directors or to control the management or policy  decisions  including  by  virtue  of their shareholding or management rights  or shareholders agreements or voting  agreements;

- In case of a partnership firm. the beneficial owner is the natural person(s) who , whether  acting  alone  or together , or through  one  or  more juridical person,  has  ownership  of  entitlement  to  more  than  fifteen  percent  of capital or profits of the partnership;

- In  case  of  an  unincorporated   association   or  body  of   individuals, the beneficial owner is the natural person(s), who, whether  acting alone or together , or through one or more juridical person, has  ownership of or entitlement to more than fifteen percent of the property or capital or profits of such association or body of individuals;

- Where no natural person is identified under (I) or (II) or (III) above, the beneficial owner is the relevant natural person who holds the position of senior  managing official

- In case  of  a  trust,  the  identification  of  beneficial  owner(s)  shall  include identification of the  author of the trust, the trustee, the  beneficiaries with fifteen  percent or more interest in the trust  and any  other natural person exercising ultimate effective control over the trust   through  a  chain  of control or ownership .

- An Agent is a person employed to do any act for another, or to represent another in dealings with third person.

- The successful bidder shall not be allowed to sub-contract works to any contractor from a country which shares a land border with India unless such contractor is registered with the Competent Authority.

1.5	In respect of para 1.4 above, bidders are required to submit a certificate/undertaking in the format as per Annexure -F.

3.       COST OF BIDDING

The bidder shall bear all costs associated with the preparation and submission of the bid.  The purchaser will in no case, be responsible or liable for these costs, regardless of the conduct of the bidding process.

B.	THE BID DOCUMENTS:

4.	DOCUMENTS REQUIRED:

  - The goods required to be supplied, bidding procedures and conditions of contract terms are prescribed in the bid documents. The bid documents include:

Sl. No.		Title					                Section

Checklist						Annexure-A

1.		Notice Inviting Tender (NIT)				I

2.		Instructions to bidders.					II

3.		General (Commercial) conditions of contract.		III

4.		Special conditions of contract.				IV

5.		Schedule of requirements.					V

PART-A (Techno-Commercial bid)

Deviation Sheet					   Annexure-B

Bid Security Declaration				      Annexure-H

6.		Technical Specifications					VI

7.		Bid Form and Form-A					VII

8.		Proforma for Bid Security.					VIII

9. 		Letter of Authorization for Attending bid opening.	IX

10.		Indemnity Bond on Rs. 100/- Stamped paper		X

PART-B	FINANCIAL BID:

11.		Price Schedule						XI

PART-C    (Documents required at the time of award of Contract)

12.		Performance Security Form				XII

13. 		Proforma for Agreement					XIII

14.                Format for Self-Certification regarding local

Content (LC) for Telecom product, Services or Works    XIV

15. 		Warranty Certificate						  XV

PART-D	Special instructions to Bidders for e-Tendering  	XVI

PART -E        Model Mandate Form for ECS                          ANNEXURE-I

PART-F         Guideline of MTNL

PART-G         Integrity pact

4.2	The Bidder is expected to examine all instructions, forms, terms and conditions in the Bid Document.  Failure to furnish, complete information required as per the bid document or submission of bids not substantially responsive to the bid document in every respect will be at the bidder’s risk and may result in rejection of the bid.

- CLARIFICATION OF BID DOCUMENTS:

5.1    	Prospective bidders requiring any clarification on the Bid Documents shall notify the purchaser on line by using e-procurement web site. https://eprocure.gov.in/eprocure/app The purchaser shall response in writing to any request for the clarification of the bid documents, which it receives latest within 10 days from the date of issue of NIT. The query (without identifying the source) and clarifications by the purchaser shall be posted on e-procurement web site https://eprocure.gov.in/eprocure/app for information of all the prospective bidders.

5.2 	Any clarification issued by MTNL in response to query raised by prospective bidders shall form an integral part of bid documents and it may amount to an amendment of the relevant clauses of the bid documents.

5.3 	The clarification, if any, can also be downloaded from the e -tendering website & bidder is expected to see the e -tendering website for clarification before submitting the bid.

6.	AMENDMENT TO BID DOCUMENTS

6.1	At any time, prior to the date of submission of bids, the purchaser may, for any reason, whether at his own initiative or in response to a clarification requested by a prospective bidder, modify the bid document by amendments.

6.2	Amendment shall be displayed on e-procurement website https://eprocure.gov.in/eprocure/app  and these amendments will be binding on the all bidders.

6.3	In order to give prospective bidders reasonable time in which to take the amendments into account in preparing their bids, the purchaser may, at its discretion, extend the deadline for the submission of bids suitably.

- PREPARATION OF BIDS.

7.	DOCUMENTS COMPRISING THE BID:

7.1      The bid prepared by the bidder shall comprise the following documents:

- Documentary evidence establishing in accordance with clause 2 & 10 indicating that the bidder is eligible to bid and is qualified to perform the contract if his bid is accepted.

- Bid Security Declaration furnished in accordance with clause 12.

- A clause-by-clause compliance of the goods/services offered as per clause 11.2.

- A bid form and price schedule completed in accordance with clauses 8 and 9.

- Bidder must have authorization letter from principal in case of supplier.

# 7.2       Language of Bid:

The bid prepared by the bidder and all correspondence and documents relating to the bid exchanged by the bidder and the purchaser shall be written in English language, provided that any printed literature furnished by the bidder may be written in another language but it is to be accompanied by an English translation of its pertinent passage(s) duly signed and verified as true English translation. The responsibility for the correctness of the translation will be solely and completely on the bidder and MTNL shall not be responsible for any loss/likely loss due to error in translation whatsoever. In such cases, for the purpose of interpretation of the bid, the English translation shall only govern.

8.	BID FORM:

  - The bidder shall complete the Bid form and the appropriate price schedule in the   format furnished in the bid documents, indicating the goods to be supplied, a brief description of the goods, quantity and prices.

  - Printed terms and conditions enclosed with the Tender Document will be considered   as forming part of the bid. In case terms & conditions of the contract applicable to this bid, as specified in the bid documents are not acceptable to bidders, they should clearly specify the deviations.

  - MTNL shall not accept any deviations in respect of any commercial conditions as laid down in the bid documents normally. However, the bidder shall give a statement of deviations to the provisions of the technical specifications and commercial conditions, if there are any deviations.

9.	BID PRICES

  - The bidder shall quote the price CIF-destination inclusive of all costs and charges including all costs towards Packing, forwarding, freight, insurance, commission, unloading or any other incidental charges.  GST shall be quoted separately. The offer shall be firm in Indian Rupees. No Foreign exchange will be made available by the purchaser

Price CIF- Destination or CIF-Destination Price used interchangeably anywhere in this document means price of product inclusive of all costs and charges including all costs towards packing, forwarding, freight, insurance, loading/unloading or any other incidental charges involved for  supplying product at designated place (consignee address) of MTNL but excluding GST, as applicable.

  - The supplier shall quote as per price schedule given in Section XI for all the items given in schedule of requirement.

  - The Basic Unit Price CIF-destination (excluding GST credit eligible amount) quoted by the bidder shall remain firm during the entire period of contract and shall not be subject to variation on any account. Any change in incidental charges will not alter the basic prices during the contract period. A bid submitted with an adjustable price quotation will be treated as non - responsive and rejected.

  - “DISCOUNT, if any, offered by the bidders shall not be considered unless specifically indicated in the price schedule of the bid. Bidders offering discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account”.

In addition to above, in case the discount is not quoted in price schedule separately and discount is provided to the purchaser post supply then the same will be considered as value of supply and accordingly supplier shall raise a credit note to MTNL. In case supplier fails to raise credit note in time then MTNL shall be authorised to raise a debit note against such discount plus applicable GST. Such credit/debit note shall be issued before September 30th of following end of financial year in which such supply was made.

  - (a) Benefit in custom duty, if any, on account of “infrastructure projects” shall be passed on to MTNL. The bidder is expected to take action for arranging infrastructure benefits available for telecom sector. It is the responsibility of the bidder to avail the reduced rate of custom duty as applicable.

(b) The goods may be shipped in the name of MTNL. The vendor shall be responsible for custom clearance, insurance and transportation till the commissioning and handing over of the system to MTNL etc. on behalf of MTNL, including payment of custom duty, insurance, freight and other charges, if any. MTNL will issue necessary letter of authorization, if required, for the purpose of claiming concessional custom duty as per 9.5(a) whenever applicable.

  - Changes, if any, requested by the bidders for supply of indigenous items in place of imported items and vice versa, quoted in the bids, may be considered only on the lower of the two rates.

10     DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATION:

10.1	The bidder shall furnish, as part of his bid documents establishing the bidder’s eligibility, the following documents or which ever is required as per terms and conditions of bid documents.

i)	Certificate of incorporation.

ii)	Articles of Association and Memorandum of Association or partnership deed or proprietorship deed as the case may be.

iii)    	Registration Certificate from State Director of Industries or from Secretariat for Industrial approval (SIA), Ministry of Industries, Government of India.

iv)       Approval from Reserve Bank of India/SIA in case of foreign collaboration.

- Latest and valid NSIC certificate/ Start-up/ MSME Registration certificate duly certified by NSIC/MSME authorities.

vi. 	Valid and Current Type Approval Certificate/TSEC of the specified GR’s.

ii)       	Bid Security Declaration form as per annexure- H.

viii)	ISO Certificate (if available).

ix)	Duly notarized general power of Attorney (on non judicial stamp paper of worth Rs. 100/-) in favour of authorized signatory in case of partnership firm (to be signed by all partners) / proprietorship firm or board resolution in case of a company to sign the bid and bind the bidder. The signature of authorized signatory should be duly attested.

x)       One QA Inspection certificate of the product as detailed at clause no.2 of section-II.

xi)	Declaration regarding any deviation/ Compliance (clause by clause) certificate is to be submitted as per annexure B.

xii)	Documents as per Eligibility Criteria given in Clause no.2 of Section-II.

Xiii)     Valid PAN.

xiv)    Valid Goods and Services Tax Identification Number (GSTIN). If bidder has opted Composition Scheme under GST, it should be clearly mentioned by bidder in bid document.  In case the bidder intend to supply goods and services from multiple state locations then Goods and Services Tax Identification Number (GSTIN) of all the states where from the supplies are planned to be made should be provided.

xv)   	A self-declaration along with the evidence that the bidder is not black listed by GST or erstwhile indirect tax authorities.

# xvi)   	In case the supplier gets black-listed during the tenure of MTNL contract, then in such cases the vendor will indemnity to MTNL for any loss of eligible GST credit as quoted in the bid. Further in such cases MTNL reserve the right to revise the unit price in such a manner that total cost to MTNL post GST creditable amount remain the same after taking into account the loss of GST eligible credit amount.

xvii)  	In case the bidder is registered under composite scheme, then bidder has to submit declaration   to this effect along with bid document. After submission of bid, if bidder either become ineligible for composition scheme (Business turnover cross the Rs 75 lakhs annual limit)  or voluntarily opt out of composition scheme then he should submit such declaration to MTNL immediately on occurrence of this event along with proof of approval from GST authorities in this regard.

xviii)	Documents /  Undertaking in support of meeting the various technical requirements as per Section-VI of the tender document, wherever applicable.

xix) 1.	The tender is covered under the Integrity Pact Programme. The bidders participating in the tender shall sign an MOU with the Purchaser as per the MOU document given in Section XVII of the tender document. The bidders can send their grievances to the Independent External Monitors through the Nodal Officer on the following address:

DE (Pers), MTNL, CO

Nodal Officer-Independent External Monitoring Cell (IEMC)

6th Floor, Mahanagar Door Sanchar Sadan,

9, CGO Complex, Lodhi Road, New Delhi-110003.

Tel. No. 011-24322529, Fax No. 011-24325576,

E-Mail: noiemc@bol.net.in

2. As per CVC’s guidelines/notification dated 13.01.2017, the vendor will not go to the court till the time the matter/complaint is pending with the IEMS. This CVC circular may be seen in MTNL website.

10.2 (i)	  The bidder shall furnish annual report / audited balance sheet as evidence that he      has financial capability to perform the contract as per clause no. 2(iv) of section-II.

(ii) The bidder shall furnish documentary evidence about technical and production capability necessary to perform the contract.

(iii) Pursuant to Department  of Promotion of Industry and Internal Trade (DPIIT) orders as on date of bid opening.  Subsequent guidelines / directives issued by Department of Telecommunications (DOT) and latest update / order on the date of opening of bids shall also be applicable on the participated firms.  The firm shall provide a certificate from the statutory auditor or cost auditor of the company (in the case of companies) or from a practicing cost accountant or practicing chartered accountant (in respect of suppliers other than companies) giving the percentage of local content.  They shall also give details of the locations at which local value addition is made OR Self-declaration may also be submitted (as the case may be) as mention in Annexure-E. Document in support of PMI clause as mentioned in 2(v)1.4 & 2(v)1.5 of Section-II.

10.3	The documents, which falls under minor infirmity & does not affect the relative ranking or substantive responsiveness of the bidders shall be identified by TEC and called from the bidders.

11.	DOCUMENTS ESTABLISHING GOODS CONFORMITY TO BID DOCUMENTS:

11.1	Pursuant to clause 7 above, the bidder shall furnish, as part of his bid, documents establishing the conformity of his bid to the bid document of all goods and services, which he proposes to supply under the contract.

11.2	The documentary evidence of the goods and services conformity to the bid document may be in the form of literature, drawings, data and he shall furnish.

(a)	A detailed description of the goods, essential technical and performance characteristics.

(b)	A list, giving full particulars including available sources and current prices of all spare parts, special tools, etc, necessary for the proper and continuous functioning of the goods for a period of three years following commencement of use of goods by the purchaser and

(c)	A clause-by-clause compliance on the purchaser’s technical specifications (section-VI), special conditions (section-IV), Instructions to bidders (section-II) and commercial conditions (section-III) demonstrating substantial responsiveness to the technical specifications and commercial conditions should be submitted with the bid as per Annexure-B.  In case of deviations, a statement of deviations and exceptions to the provision of the technical specification and commercial condition shall be furnished by the bidder(s) as per Annexure-B. A bid without clause-by-clause compliance of the technical specification (Section-VI), Instructions to bidders (section-II), commercial conditions (Section-III) and special conditions (Section-IV) as per above shall not be considered.

11.3	For purposes of compliance to be furnished, pursuant to clause 11.2 (c) above, the bidder shall note that the standards for workmanship, material and equipment and reference to brand names or catalogue number, designated by the purchaser in its Technical Specifications are intended to be descriptive only not restrictive.

- BID SECURITY DECLARATION :

  - 12.1 In lieu of Bid Security , bidders (other than MSE / SSI unit registered with   	NSIC / MSME bodies) are required to submit "Bid Security Declaration" along 	with    	their bid in the format given in Annex-H.

  - 12.2 The Bid Security Declaration is required to protect the purchaser against the 	risk     	   of bidder’s conduct, which would warrant the action as per Annex-H.

12.3	The bid security declaration shall be in the form of Annex-H. valid for a period of 150 days from the date of tender opening.

12.4	The bid not secured in accordance with para 12.1 & 12.3 shall be rejected by the Purchaser being non-responsive at the bid opening stage and returned to the bidder unopened.

12.5	 If the bidder fails to comply with the conditions of bid security declaration as per       Annex-H, they will not be eligible to participate in the MTNL tender for any item / product for one year from the date of issue of APO/LOI. The bidder will not approach the court against the decision of MTNL in this regard.

12.6	Further , if the said bidder is MSE/SSI unit registered with NSIC/MSME bodies, in addition to action as mentioned under para 12.5 above , such bidder will also be deprived of from exemption from tender fee, and Performance Security (PBG)  for next one year after they become eligible to participate in MTNL tenders.

13.	PERIOD OF VALIDITY OF BIDS.

13.1	Bids shall remain valid for 150 days from the date of bid opening prescribed by the purchaser.  A bid valid for a shorter period shall be rejected by the purchaser as non-responsive.

13.2	In exceptional circumstances, the purchaser may request the consent of the bidder for an extension to the period of bid validity.  The request and the responses thereto shall be made in writing.  The bid security provided under clause 12 shall also be suitably extended.  A bidder may refuse the request without forfeiting his bid security.  A bidder accepting the request and granting extension will not be permitted to modify his bid.

14. 	FORMATS AND SIGNING OF BID

The bid shall be typed or printed, numbered sequentially and digitally signed by the bidder or a person or persons duly authorized to bind the bidder to the contract.  An index of various documents and page no where it is available, shall be given The letter of authorization shall be indicated by written power-of-attorney. The copy of power-of-attorney shall be enclosed along with the bid and original power of attomey shall be submitted along with Bid Security Declaration to AGM (MPL),Room No-111,Eastern Court, New Delhi-110001.

D.	SUBMISSION OF BIDS

15.	SEALING AND MARKING OF BIDS:

15.1	Bids along with documents as indicated in clause 7 shall be digitally submitted in the format prescribed by MTNL. The Supporting documents shall be suitably mapped along with the format.

15.2	Tender Opening:  Tender will be opened online by the designated tender opening committee of MTNL on the schedule date and time of opening of the bids.

The representative of the bidders may attend the bid opening either online after Logging on to the website https://eprocure.gov.in/eprocure/app or at MTNL premises.

16.	SUBMISION OF BIDS:

16.1	Bids must be received by the purchaser at the address specified under Para 14 above, not later than the date and time specified in NIT.

16.2	The purchaser may at his discretion, extend this deadline for the submission of bids by amending the bid documents in accordance with clause 6 in which case all rights and obligations of the purchaser and bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

16.3   The bidder shall submit his bid offer against a set of bid documents purchased by him for all or some of the systems/goods as per requirement of the bid documents.  He may include alternate offer, if permissible as per the bid. However, not more than one independent and complete offer shall be permitted from the bidder.

16.4	Bids must be submitted on line on e-procurement website     	https://eprocure.gov.in/eprocure/app within specified scheduled date and time.

16.5   Bidders are requested to submit hard copies in originals of following documents before 	closing date & time to AGM (MPL), Room No.111, First Floor, Eastern Court, New 	Delhi-110001.

- Bid Security Declaration.

- NSIC/MSME  Certificate (if applicable),

- General Power of Attorney.

- Indemnity Bond on Rs. 100/- Stamp Paper as per section-X( Duly Notarized).

- Cost of tender document in DD/Pay order form

- Signed copy of integrity pact

17.	LATE BIDS:

E-tendering system is date and time locked. The system will not accept any bid after the scheduled date and time of submission of the bids.

18.	MODIFICATION AND WITHDRAWAL OF BIDS:

18.1	The bidder may modify or withdraw his bid after submission provided that the written notice of the modification or withdrawal is received by the purchaser prior to the deadline prescribed for submission of bids.

  - The bidder’s modification or withdrawal notice shall be prepared, sealed, marked and dispatched as required in the case of bid submission in accordance with the provisions of clause 15.  A withdrawal notice may also be sent by FAX but followed by a signed confirmation copy by post, not later than the deadline for submission of bids.

  - Subject to clause 20, no bid shall be modified subsequent to the deadline for submission of bids.

18.4	In case of withdrawal of bid after deadline for submission of bid, the bidder shall be 	debarred from participation in MTNL’s future tender for the said item for one year.

E.	BID OPENING AND EVALUATION:

19.    	OPENING OF BIDS BY PURCHASER:

  - The purchaser shall open bids on due date & time as per NIT. The bidders representative (Maximum two) who choose to be physical present at MTNL premises shall sign in an attendance register. Authority letter to this effect shall be submitted by the bidders before they are allowed to participate in bid opening.

19.2	If the date fixed for opening of bids, is subsequently declared as holiday by MTNL, a revised date of opening will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

20.	CLARIFICATION OF BIDS:

To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion ask the bidder for the clarification of its bid. However, no post bid clarification at the initiative of the bidders shall be entertained.

21.	PRELIMINARY EVALUATION:

  - The purchaser shall evaluate the bids to determine whether they are complete, whether any arithmetical errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

21.1.1	If the sum of components of the unit price adds up to an amount different from the quoted unit price, still the quoted unit price will be taken into account for evaluation. However, lower of the two prices i.e. quoted unit price or sum of the components of unit price shall be considered for ordering.

  - Arithmetical errors shall be rectified on the following basis.  If there 	is a discrepancy between the unit price and total price that is obtained multiplying the unit price and quantity, the unit price shall prevail and total price shall be corrected by the purchaser.  If there is a discrepancy between words and figures, the amount in words shall prevail. If the supplier does not accept the correction of the errors, its bid will be rejected.

  - Prior to the detailed evaluation, pursuant to clause 22, the purchaser will determine the substantial responsiveness of each bid to the bid documents for purposes of these clauses. A substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without material deviations. The purchaser’s determination of bid’s responsiveness shall be based on the contents of the bid itself without recourse to extrinsic evidence.

  - A bid determined as substantially non-responsive will be rejected by the purchaser and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

  - The purchaser may waive any minor infirmity or non-conformity or Irregularity in a bid, which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of any bidder.

21.6    If a firm quotes ‘Nil’ charges/consideration, the bid shall be treated as non-responsive  and will not be considered.”

Note: A firm may quote ‘NIL’ charges for certain item(s) in the break up, but   must have a financial consideration at over all bid level.

22.	EVALUATON AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS:

22.1	The purchaser shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 21.

22.2   The evaluation and comparison of responsive bids shall be done separately for each item (i.e. there will be separate L1 for each item) on the basis of Net cost to MTNL excluding GST Credit-eligible Amount (as given in price schedule of Section-XI of the bid document).

  - Any bid having less than one hundred Fifty days validity will not be entertained.

23.	CONTACTING THE PURCHASER:

23.1	Subject to clause 20, no bidder shall try to influence the purchaser on any matter relating to its bid, from the time of the bid opening till the time the contract is awarded.

  - Any effort by a bidder to modify his bid or influence the purchaser in the purchaser’s bid evaluation, bid comparison or contract award decisions shall result in the rejection of the bid.

F.        AWARD OF CONTRACT:

24.0	PLACEMENT OF ORDER:

  - The purchaser shall consider placement of orders for commercial supplies only on those eligible bidders whose offers have been found technically, commercially and financially acceptable and whose goods have been type approved/validated by the purchaser.  The purchaser reserves the right to counter offer price(s) against price(s) quoted by any bidder.

MTNL shall have the sole discretion in deciding the distribution of quantity among technically, commercially and financially eligible bidders based on the merit of each case/each item.  In the instant case distribution of quantity is proposed to be done

In following manner:-

(i)  Among all qualified bids, the lowest bid will be termed as   L-1. If L-1 is a class I local      supplier, the contract for full quantity will be awarded to L-1.

(ii)    If L-1 bid is not from a Class I local supplier, 50% of the tendered quantity shall be awarded to L-1 bidder. Thereafter, the lowest bidder among the class-I local supplier shall be invited to match the L-1 price for the remaining 50% quantity subject to class-I local supplier’s quoted price falling within the margin of Purchase preference mentioned above and contract for that quantity shall be awarded to such class-I local supplier subject to matching the L-1 price. In case such lowest eligible class-I local supplier fails to match the  L-1 price or accepts less than the ordered quantity, the next higher class-I local supplier within the margin of purchase preference shall be invited to match the L-1 price for remaining quantity and so on and contract shall be awarded accordingly. In case some quantity is still left uncovered on class-I local suppliers, then such balance quantity may also be ordered on L-1 bidder

25.      PURCHASER’S RIGHT TO VARY QUANTITIES:

(a)	MTNL will have the right to increase or decrease up to 25% of the value of goods and services specified in the schedule of requirements without any change in the unit price or other terms and conditions at the time of award of contract.

(b)	In exceptional situation where the requirement is of an emergent nature and it is necessary to ensure continued supplies from the existing vendors, the purchaser reserves the right to place repeat order up to 50% of the value of the goods and services contained in the running tender/contract upto a period of twelve months from the date commissioning/commercialization of the project ( date of acceptance of APO of the items procured in case where no installation , commissioning is involved) at the same rate or a rate negotiated (downwardly) with the existing vendors considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc.

(c)	Further if required, an additional order for 50% of the value of the goods & services limited to 100% of the value of goods and services contained in the running tender/contract may be placed within a period of twelve months from the date commissioning/commercialization of the project ( date of acceptance of APO of the items procured in case where no installation , commissioning is involved)on the existing venders at the same rate or a rate negotiated (downwardly) considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc. (with the approval of Board).

26.	PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS:

The purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of contract without assigning any reason whatsoever and without thereby incurring any liability to the affected bidder or bidders on the grounds of purchaser’s action.

        - ISSUE OF ADVANCE PURCHASE ORDER:

  - The issue of an advance purchase order shall constitute the intension of the purchaser to enter into contract with the bidder.

27.2 	The bidder shall within 14 days of issue of the APO/LOI give his acceptance along with performance security in conformity with the Section-XII of the bid documents.

        - SIGNING OF CONTRACT:

  - The issue of purchase order shall constitute the award of contract on the bidder.

28.2	Upon the successful bidder furnishing performance security pursuant to Clause-27, the purchaser shall discharge the bid security in pursuant to Clause-12.

29.0	ANNULMENT OF AWARD:

Failure of the successful bidder to comply with the requirement of clause 28 shall constitute sufficient ground for the annulment of the award and the forfeiture of the bid security in which event the purchaser may make the award to any other bidder at the discretion of the purchaser or call for new bids.

30.0	QUALITY ASSURANCE REQUIREMENTS:

The supplier shall have Quality Management System supported and evidenced by the following:

-	A Quality Policy.

-	A management representative with authority and responsibility for fulfilling QA requirements and for interfacing with purchaser in the matters of quality.

-	Procedure for controlling design/production engineering, materials, choice of components/vendors, manufacturing and packaging process for supplying quality products.

-	System of Inward Good Inspection.

-	System for tracing the cause for non-conforming (trace ability) and segregating product, which don’t conform to specifications.

-	Configuration management and change control mechanism.

-	A quality plan for the product.

-	Periodical internal quality audits.

-	Type Approval Certificate issued

31.	Summary rejection of Bids

While all the conditions specified in the bid documents are critical and are to be complied, special attention of bidders is invited to the following clauses of the bid documents.  Non-compliance of any one of which shall result in outright rejection of bid.

- Clause 15.1 of Section II: The bids will be recorded/ returned unopened if covers are not properly sealed with ‘OFFICIAL SEAL/STAMP’ of the bidder.

- Clauses 12.1, 12.3 & 13.1 of Section II: The bids will be rejected at opening stage if Bid Security Declaration is not submitted as per Clause 12 & Annexure “H” and bid validity is less than the period prescribed in Clause 13.1 mentioned above.

- Clause 2 of Section II: If the eligibility condition as per clause 2 of Section II is not met and/or documents prescribed to establish the eligibility the bids will be rejected without further evaluation.

- Clause 11.2 (c) of Section II: If clause-by-clause compliance and deviation statements as prescribed are not given, the bid will be rejected at the stage of primary evaluation. In case of no deviations, a statement to that effect must be given.

- Section III Commercial conditions, Section IV Special Conditions of Contract & Section VI Technical Specifications: Compliance if given using ambiguous words like “Noted”, “Understood”, “Noted & Understood” shall not be accepted as complied. Mere “Complied” will also be not sufficient, reference to the enclosed documents showing compliances must be given.

- Section XI Price Schedule:  Prices are not filled in as prescribed in price schedule.

# Section II clause 9.4 on discount of which relevant part is reproduced below:

“Discount, if any, offered by the bidder shall not be considered unless specifically indicated in the price schedule. Bidders desiring to offer discount shall therefore modify their offer suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account”.

- Before outright rejection of the Bid by Bid-opening team for non-compliance of any of the provisions mentioned in clause 31(i), 31(ii) of Section II and clause 2 (ii) of Section IV though, the bidder company is given opportunity to explain their position, however if the person representing the company is not satisfied with the decision of the Bid opening team, he/they can submit the representation to the Bid opening team immediately but in no case after closing of the tender process with full justification quoting specifically  the violation of tender condition, if any.

Bid opening team will not return the bids submitted by the bidders on the date of tender opening even if it is liable for rejection and will preserve the bids in sealed cover as submitted by taking the signatures of some of the desirous representatives of the participating bidder/companies present on the occasion.

The in-charge of Bid opening team will mention the number of bids with the name of the company found unsuitable for further processing on the date of  tender  opening  and number of representations received in Bid opening Minutes and if Bid opening team is satisfied with the argument of the bidder/company mentioned in their representation and feel that there is prima-facie fact for consideration, the in-charge of the bid opening team will submit the case for review to the competent authority (ED for Units and Director (Tech.) in Corporate Office) as early as possible preferably on next working day and decision to  this effect should  be communicated to the bidder company within a week positively. Bids found liable for rejection and kept preserved on the date of tender opening will be returned to the bidders after issue of P.O. against the instant tender.

If the reviewing officer finds it fit to open the bid of the petitioner, this should be done by giving three (working) days notice to all the participating bidders to give opportunity to desirous participants to be present on the occasion.

32.	Purchaser reserves the right to disqualify the supplier for a suitable period who habitually failed to supply the equipment/goods in time.  Further, the suppliers whose equipment/goods do not perform satisfactory in the field in accordance with the specifications may also be disqualified for a suitable period as decided by the purchaser.

33.	Purchaser reserves the right to blacklist a bidder for a suitable period in case he fails to honour his bid without sufficient grounds.

34.	The bidder should give a certificate that none of his/her near relative as defined below is working in the units where he is going to apply for the tender.  In case of Proprietorship firm certificate will be given by the proprietor.  For partnership firm certificate will be given by all the partners and in case of limited company by all the Directors of the company excluding Govt. of India/Financial Institutions nominees and independent non-official part time directors appointed by Govt. of India or the Governor of the state. Due to any breach of conditions by the company or firm or any other person the tender will be cancelled at any stage whenever it is noticed and MTNL will not pay any damage to the company or firm or the concerned person. The company or firm or the person will also be debarred for further participation in the concerned unit.

The near relatives for this purpose are defined as:

(a)	Members of a Hindu undivided family.

(b)   	They are husband and wife.

(c ) 	The one is related to the other in the manner as father, mother, son(s)& son’s wife (Daughter in law), daughter(s) and daughter’s husband (son in law), brother(s) and brother’s wife, sister(s) and sister’s husband (brother in law).

The format of the certificate to be given is as per Annexure C. Indemnity bond on Rs 100/- stamped paper should be submitted as per format in Section X.

35	Bidders are hereby cautioned that any attempt for cartel formation will be viewed seriously and may at the discretion of purchaser, lead to cancellation of tender. Purchaser in its discretion may decide to black listing or debarring these bidders besides taking other punitive measures. Decision of purchaser in this regard shall be final and binding.

36. 	Different firms or companies having any common partner(s) / Director(s) or one firm being subsidiary or holding company of the other are not permitted to quote for more than one tender offer.  In case more than one offer is received from such bidders, then all such offers except with the lowest quote shall be rejected summarily.

37.	In case more than one offer for any tendered item is received from the same bidder, then all such offers except with the lowest quote shall be rejected summarily.

38.     Genuineness of the papers is the responsibility of the bidder, if at any stage it is found that the documents in support of qualification to tender conditions is forged or tampered with or manipulated to take undue advantage, then the concerned bidder shall be liable for forfeiture of Bid Security or performance Security and/or debarring/blacklisting from participation in any of the tender of MTNL for at least one year.

39.     If any fraud, misappropriation of funds/stores is detected on part of the bidder at any stage, the bid or work order/Purchase order issued to the bidder is liable to be cancelled and further necessary action against the bidder will be taken.

Section-III

GENERAL (COMMERCIAL) CONDITIONS OF CONTRACT

1.	APPLICATION:

The general conditions shall apply in all contracts, made by the purchaser for the procurement of goods.

2.	STANDARDS:

The goods supplied under this contract shall conform to the standards mentioned in the technical specifications.

3.	PATENT RIGHTS:

The supplier shall indemnify the purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the goods or any part thereof in Indian Telecom Network.

4.	PERFORMANCE SECURITY:

4.1	Within 14 days after the supplier’s receipt of the Advance Work Order /letter of intent the supplier shall furnish performance security to the purchaser for an amount of 3% of contract value unless stated otherwise in LOI/A.W.O The suppliers (small scale units) who are registered with National Small Scale Industries Corporation UNDER SINGLE POINT REGISTRATION SCHEME are exempted from payment of performance security up to the amount equal to their monetary limit.  In case of suppliers having monetary limit as ‘NO LIMIT’ or without limit or more than Rs.50,00,000/-(Rs. Fifty Lacs), the exemption will be limited to Rs.50,00,000/- (Rupees Fifty Lacs) only as per existing policy of MTNL.  A proof regarding current registration with NSIC for the TENDERED ITEMS will have to be attached along with the bid.

4.2   The performance guarantee shall remain with MTNL and will be discharged after   	completion of contractual performance obligations.

If the bidder fails or neglects any of his obligations under the contract. it   shall be lawful for the MTNL, New Delhi to forfeit either whole or any part of the performance guarantee furnished by the bidder due to non performance  of the successful bidder beside any other legal remedy available to MTNL.

The proceeds of the performance security shall be payable to the purchaser for the supplier’s failure to complete its obligations under the contract without prejudice to MTNL’s right to take other remedies actions.

In case of adjustment of any amount from performance security with respect to supplier’s failure in performance of contractor or deficiency in performance of contract then, Supplier shall raise a credit note to MTNL. In case supplier fails to raise credit note in time then MTNL shall be authorised to raise an Invoice/ Debit note to vendor against such adjusted amount plus applicable GST. Such credit/debit note shall be issued before September 30th of following end of financial year in which such supply was made.

4.3      PBG shall be normally valid to cover the contract period, any Extension in work order, 	warranty period PBG shall be extended for another twelve months to facilitate 	issuance of NOC from the user unit.  The PBG shall be liable to be released to the 	supplier after NOC is issued. User Unit shall be responsible to issue instructions for 	withholding of PBG if required before expiry of the period. In the instant case PBG 	should be valid for THREE years from the date of signing agreement.

4.4   The performance security bond shall be in the form of a bank guarantee issued by a    	scheduled bank and in the form provided in the Section-XII of bid documents.

4.5	    The performance security will be discharged by the purchaser after completion of the 	supplier’s performance obligations within a period of Twelve months of the successful 	completion of contract period, unless there are specific instructions from the user Unit 	not to release the B.G.

4.6	    MTNL shall not be liable to pay any interest on security money deposit.

5.	INSPECTIONS AND TESTS:

  - The purchaser or his representative shall have the right to inspect and test the goods as per prescribed test schedules for their conformity to the specifications.  Where the purchaser decides to conduct such tests on the premises of the supplier or its sub-contractor(s) all reasonable facilities and assistance like, testing instruments and other test gadgets including access to drawings and production data shall be furnished to the inspectors at no charge to the purchaser.

5.2	Should any inspected or tested goods fail to conform to the specifications, the purchaser may reject them and the supplier shall either replace the rejected goods or make all alterations necessary to meet specification requirements free of cost to the purchaser.

5.3    	Not withstanding the pre-supply tests and inspections prescribed in clause 5.1 & 5.2 above, the equipment and accessories on receipt in the purchaser’s premises will also be tested during and after installation before “take over” and if any equipment or part thereof are found defective, the same shall be replaced free of all costs to the purchaser as laid down in clause 5.4 below.

  - If any equipment or any part thereof, before it is taken over under clause 5.5, is found defective or fails to fulfill the requirements of the contract, the inspector shall give the supplier notice setting forth details of such defects or failure and the supplier shall make the defective equipment good, or alter the same to make it comply with the requirements of the contract forthwith and in any case within a period not exceeding three months of the initial report. These replacements shall be made by the supplier free of all charges at site.  Should it fail to do so within this time, the purchaser reserves the discretion to reject and replace at the cost of the supplier the whole or any portion of the equipment as the case may be, which is defective or fails to fulfill the requirements of the contract. The cost of any such replacement made by the purchaser shall be deducted from the amount payable to the supplier.

  - When the performance tests called for have been successfully carried out, the Inspector/ultimate consignee will forthwith issue a taking over certificate. The inspector/ultimate consignee shall not delay the issue of any taking over certificate contemplated by this clause on account of minor defects in the equipment, which do not materially affect the commercial use thereof provided that the supplier shall undertake to make good the same in a time period not exceeding six months. The taking over certificate shall be issued by the ultimate consignee within six weeks of successful completion of tests.  In this case, BCPC (Bill Copy Payable Challan) shall be equivalent to “Taking over Certificate”, issuance of which shall certify receipt of goods in safe and sound conditions.  However, they shall not discharge the supplier of their warranty obligations.  BCPC in respect of last consignment against the purchase order will be equivalent to “Taking over Certificate”.

5.6   	Nothing in clause 5 shall in any case release the supplier from any warranty or other obligations under this contract.

5.7     Inspection and testing shall be as per provisions in the Technical Specifications.

5.8     Unless specified otherwise, inspecting authorities shall be MTNL as per clause 5.1or any other agency authorised by MTNL.

5.9    Payment to BSNL QA for testing of equipment:

(i) If the QA testing is carried out by BSNL QA, then the suppliers of MTNL shall make payment to BSNLQA on behalf of MTNL@ 0.5% of ex–factory value equipment + applicable Goods and Service Tax. BSNL QA shall issue a receipt in the name of MTNL for the testing charges clearly mentioning the the details of PO, equipment description etc.

(ii) The supplier shall submit the above receipt in original to MTNL for reimbursement of the payment after the equipment has been diverted to MTNL.

6.	DELIVERY AND DOCUMENTS:

6.1	Delivery of the goods and documents shall be made by the supplier in accordance with the terms specified by the purchaser in its schedule of requirements and special conditions of contracts, and the goods shall remain at the risk of the supplier until delivery has been completed. The delivery of the equipment/good shall be to the ultimate consignee as given in the purchase order.

  - Delivery is to commence within 45 days & to be completed in 180 days with evenly distributed supply from PO date.  The actual delivery schedule will be given in purchase order.

7.	INCIDENTAL SERVICES.

7.1	The supplier may be required to provide any or all of the following services:

a) 	Performance or supervision of on-site assembly and/or start-up of the supplied goods.

b)  	Furnishing of tools required for assembly and/or maintenance of supplied goods;

c)	Performance of supervision or maintenance and/or repair of the Supplied goods, for a period of time agreed by the parties provided that this service                                                                                                                                                                                                                                             shall not relieve the supplier of any warranty obligations under this contract.

8.     	WARRANTY:

8.1	The contractor shall warrant that stores to be supplied shall be new and free from all defects and faults in material, workmanship and manufacturing and shall be of the highest grade and consistent with the established and generally accepted standards for materials of the type ordered and shall perform in full conformity with the specifications and drawings.  The contractor shall be responsible for any defects that may develop under the conditions provided by the contractor and under proper use, arising from faulty materials, design or workmanship such as corrosion of the equipment, inadequate quantity of material to meet equipment requirements, inadequate contact protection, deficiencies in circuit design and or otherwise and shall remedy such defects at his own cost when called upon to do so by the   purchaser   who   shall state in writing in what respect stores is faulty.  This warranty shall survive inspection or payment for acceptance of goods, but shall expire except in respect of complaints notified prior to such date or 30(Thirty) Months after the stores have been taken over under clause 5.5 above or 24 (Twenty Four) Months after the installation of the store whichever is earlier. .

8.2 	If it becomes necessary for the contractor to replace or renew any defective portion/portions of the equipment under this clause, the provisions of the clause shall apply to the portion/portions of equipment so replaced or renewed or until the end of the above mentioned period of 30(Thirty) Months or minimum guarantee period   of the supplied material, whichever may be later.  If any defect is not remedied within a reasonable time the purchaser may proceed to the work at the contractor’s risk and expenses, but without prejudice to may other rights which the purchaser may have against the contract in respect of such defects.

8.3  	Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance and other incidental charges.

9.     	PAYMENT TERMS:

9.1(I) The vendor would raise the invoice of gross value mentioning the HSN Code.  However, the vendor would be liable to maintain a non-interest bearing security deposit equivalent to 5% value of the Goods supplied (excluding GST component) or for the value as mentioned in the Bid Document/ Purchase Order valid for the period as mentioned in Bid Document/ Purchase Order. Accordingly, the purchaser would make the net payment of gross invoice value reduced by the security deposit along with 100% GST amount as per invoice and transfer the balance amount in the security deposit account of the vendor. Once the prescribed time has lapsed and the vendor has complied fully towards the performance of the contract, the security deposit would be refunded back to the vendor. However, in case of deficiency in performance of the contract including late delivery of goods, services, installation, commissioning etc., MTNL shall adjust the recoverable amount before releasing the security deposit.

Note: The actual payment conditions for new products or procurements having installation and AMC services may be decided on case to case basis and incorporated in special conditions of the contract.

(ii)     100% payment (without retaining of 5% amount as security deposit) may be made on delivery, provided that an additional Bank Guarantee for an amount equivalent to 5% of the value of supplies valid for a minimum period of nine months is furnished by the supplier along with an undertaking that the equipment/stores supplied shall be free from damages/shortages.   In those cases, where such shortages/damages are intimated to the supplier in writing, the Bank Guarantee shall be extended without fail by the supplier for a suitable period at the request of purchaser in writing.  Failure to do so shall result in forfeiture of Bank Guarantee.   The Bank Guarantee shall be accepted at Unit Head Quarter and shall be released only after the cases are settled in accordance with the provisions available in the Bid Document/Purchase Order.   In case, where the additional Bank Guarantee for 5% is not provided, then the payment will be settled as per clauses 9.1.(i) mentioned above.

9.2	For claiming this payment the following documents are to be submitted to the paying authority.

- Invoice clearly indicating break up Price CIF-destination and GST.

- Delivery Challan.

- Supplier certificate for dispatch.

- Inspection Certificate of QA (Payable copy in original)

- The E-waybill as prescribed in the GST law in case of movement of goods (for both intra-state and inter-state movement).

- Proof of payment of GST, if applicable.

- Consignee receipt.

9.3      (i)	Necessary declaration, statutory forms (if any) shall be provided by MTNL to avail concessional rate of tax wherever applicable.

  - No payment will be made for goods rejected at the site on testing .For goods rejected at the site on testing the credit note shall be issued by the supplier, failing which the purchaser shall adjust the amount to be recovered by issuing an invoice/debit note for the corresponding amount at the risk and cost to the supplier including applicable GST, if any.

  - Payment of GST/Custom duty shall be released on production of necessary supporting documents i.e. GST/customs invoices etc.. If the supplier fails to furnish necessary supporting documents i.e. GST invoice/Customs invoices etc., the amount pertaining to such Duties/Taxes will not be paid. Tax amount will be payable to the supplier only after supplier declares the details of the invoices in its GSTR-1 and GSTR-3 and the same is reflected in GSTR-2A of MTNL on GSTN portal.

  - Wherever domestic reverse charge is applicable on MTNL or in case vendor is un-registered under GST Act, vendor shall not charge tax on invoice. It shall be the liability of MTNL to pay tax under reverse charge mechanism.

  - No payment of GST shall be made to those bidders, who are either not registered for GST or who are registered under Composition Scheme of GST.

  - If status of a bidder who was initially registered on GST under Composition Scheme at the time of submission of financial bid, subsequently his status changes to normal GST registered vendor any time before delivery of Goods (raising invoice against delivery of Goods), under such circumstance, his unit price will be discounted by the applicable Tax rate as applicable under the composition scheme.  In such cases if the vendor furnishes necessary supporting documents regarding GST payment and which is also GST credit eligible amount to MTNL in such cases the GST payment will be reimbursed.

  - Entire payment of invoice shall be paid by MTNL only after the credit of the GST portion in the invoice is selected in the GSTN portal i.e. the outward return in GSTR 1 is uploaded by the supplier by 10th of the subsequent month and duly reflected in MTNL account on GSTN portal.

  - TDS/ TCS shall be deducted at the prescribed rate, if any (as the case may be)

Note: The above payment terms are for Type Approved equipment with 100% payment with retention of 5% amount as security deposit initially which will be subject to release after taking over certificate and completion of all contractual obligations as per bid in timely manner. However, the actual payment conditions for new products or procurements having installation and AMC charges may be decided on case to case basis and incorporated in special conditions of contract.

9.4      No payment will be made for goods rejected on testing.

9.5	The payment to successful bidder will be made through ECS/EFT by paying Authority. Hence the bidder has to furnish the following details: -

(i) Name of Bank.	(ii) Branch name & Address	(iii) Bank’s 9-digit code No. & Branch MICR No. 	(iv) Account No. 	(v) Type of Account (vi) RTGS/IFSC no.

(vii) PAN No.

9.6    	QA testing charges @ 0.5% of ex factory price plus applicable Goods and Service Tax will be paid by the supplier directly to BSNL QA which will be refunded to supplier on submission of bill with original receipt of QA.

10.    PRICES:

10.1 (i) 	(a)	Prices  charged  by  the  supplier  for  goods  delivered  and  services  performed  under  the contract shall not be higher than the prices quoted by the Supplier in his Bid.

(b)	In the case of revision of non-Creditable Statutory Levies/Taxes during the finalization period of tender, the Purchaser reserves the right to ask for reduction in the prices.  However, no increase shall be permitted.

      - (a)   	Prices mentioned in Col. 13 of the Price Schedule in Section-XI of the Bid Document once fixed will remain valid during the scheduled delivery period. Increase and decrease of non- Creditable Taxes will not affect the price during this period. The revision of Creditable Taxes (both increase & decrease) shall be allowed while reimbursing the same due to change in tax rate as per Government orders.

- Any increase in taxes and other statutory non Creditable duties/levies after the expiry of the delivery date shall be to the supplier’s account. However, benefit of any decrease in these taxes/duties shall be passed on to the Purchaser by the supplier.  The revision of Creditable duties (both increase & decrease) shall be allowed while reimbursing the same in extended delivery period.

10.2 (i)	(a)	Vendors should furnish the correct HSN classification under GST/Customs tariff Head in the Price Schedule. If the credit for Duties and Taxes under CGST Act read with ITC rules is found to be not admissible at any stage subsequently owing to wrong furnishing of HSN/Tariff Head or any other reason, then the vendors will refund such non-admissible amount, if already paid along with penalty and interest, if any charged by the concerned authority.

  - In case the Duties & Taxes which are non- Creditable as per the quotes indicated in the Price Schedule by the vendors and subsequently at any stage it is found that Credit for such Duties & Taxes is admissible as per CGST Act read with ITC rules, then the supplier is to submit necessary documents in this regard which may enable the purchaser to avail the Input  credit  provided  such  credit  is  still  available  for  the  amount  so  paid  as  per CGST Act read with ITC rules. However, in case the input Credit is not available for this amount, then the vendors will refund the amount equivalent to such Duties & Taxes if already paid to them.

  - The purchaser reserves the right to ask the bidders to submit documentary proof confirming the correct HSN/Tariff Head from the GST/Customs authority where the HSN/Tariff Head furnished against the particular tendered item by different bidders differs from each other or the same is found apparently not furnished in accordance with GST/Customs Tariff notifications.

d)	The unit prices of items for any requirement for add-on orders shall remain firm. The duties/taxes shall be paid as per rates applicable at the time of placement of add-on orders (Both Creditable & Non-Creditable).

11.	CHANGES IN PURCHASE ORDERS

11.1  The purchaser may, at any time, by a written order given to the Supplier, make         changes within the general scope of the contract in any one or more of the following:

a) 	Drawings, designs or specifications, where goods to be furnished under the contract are to be specifically manufactured for the purchaser;

b)	The method of transportation or packing.

c)	The place of delivery; or

d)       	The services to be provided by the supplier.

  - If any such change causes an increase or decrease in the cost of, or the time required for the execution of the contract, and equitable adjustment shall be made in the contract price or delivery schedule, or both, and the contract shall accordingly be amended.  Any proposal by the supplier for adjustment under his clause must be made within 30-days from the date of the receipt of the change in order.

12.	SUB-CONTRACTS:

The supplier shall notify the purchaser in writing of all sub-contracts awarded under this contract if not already specified in his bid.  Such notification, in his original bid or later shall not relieve the supplier from any liability or obligation under the contract.

13.	DELAYS IN THE SUPPLIER’S PERFORMANCE:

13.1	Delivery of the goods and performance of services shall be made by the supplier in accordance with the time schedule specified by the purchaser in its purchase order. In case the supply is not completed in the stipulated delivery period, as indicated in the purchase order, purchaser reserves the right either to short-close/cancel this purchase order and/or recover liquidated damage charges.  The cancellation/short-closing of the order shall be at the risk and responsibility of the supplier and purchaser reserves the right to purchase balance-unsupplied item at the risk and cost of the defaulting vendor.

13.2	Delay by the supplier in the performance of its delivery obligations shall render the supplier liable to any or all of the following sanctions; forfeiture of its performance security, imposition of liquidated damages and/or termination of the contract for default.

13.3(a) If at any time during the performance of the contract, the supplier encounters condition impending timely delivery of the goods and performance of service, the supplier shall promptly notify to the purchaser in writing the fact of delay, Its likely duration and its cause(s). As soon as practicable after receipt of the supplier’s notice , the purchaser shall evaluate the situation and may at its discretion extend the period of performance of the contract subject to furnishing of additional bank guarantee in the format provided in section –XII – A by the supplier @ 5% of the total value of the purchaser Order.

(b)    The vendor has to submit their request for extension along with the required additional BG, undertaking as per Clause 20 section –III (Fall Clause). The decision regarding extension shall be communicated within two weeks of the receipt of request.

(c)   The initial validity of additional Bank Guarantee shall be one year for supply of goods and 1½ year for turnkey project. The validity of Bank Guarantee may be extended if required.

(d)    The additional Bank Guarantee shall be released after three months from the date on which the equipment is supplied in case tender envisages only supply of goods. In case of turn- Key project where the scope of work includes supply, Installation and Commissioning of equipment, the additional Bank Guarantee shall be released after three month from the date of commissioning of the complete project.

(Note): In exceptional circumstances, where it becomes necessary to grant delivery period Extension beyond 20 weeks, the same shall be granted by ED concerned in case of purchase Orders issued by units and by CMD MTNL in case of purchase orders issued by Corporate Office.) (Each case of delivery extension shall have to be examined a fresh vis-à-vis the prevailing Market prices.)

13.4	If the supplies are not completed in the extended delivery period, the purchase Order shall be Short-closed and the performance security and additional bank guarantee shall be forfeited.

14.   	LIQUIDATED DAMAGES: Liquidated Damages, wherever referred under this Tender / Agreement, shall mean and refer to the damages, not in the nature of penalty, which the supplier agrees to pay in the event of delay in delivery of stores, installation, commissioning, breach of contract etc. as the case may be. Liquidated Damages is not a penalty but is a sum which is agreed by the parties as a reasonable and genuine pre-estimate of damages which will be suffered by the purchaser on account of delay/breach on the part of the supplier.

14.1	The date of delivery of the stores and Installation and/or Commissioning stipulated in the acceptance of the tender should be deemed to be the essence of the contract and delivery must be completed no later than the dates specified therein. Extension will not be given except in exceptional circumstances subject to conditions as enumerated in the contract/tender including levying of Liquidated Damages in terms of Clause 14.2 below.

14.2	While granting extension of delivery period as per clause 14, the liquidated damages shall be levied as follows:

(a)(i)For delivery of stores: Should the supplier fails to deliver the store or any consignment thereof within the period prescribed and agreed for delivery, the purchaser, without prejudice to other remedies available to the purchaser shall be entitled to recover Liquidated Damages, for breach of contract, a sum equivalent to 0.5% of the value of the delayed supply and/ or undelivered material/ supply for each week of delay or part thereof for a period up to 10 (TEN) weeks, and thereafter at the rate of 0.7% of the value of the delayed supply and/ or undelivered material/ supply for each week of delay or part thereof for another TEN weeks of delay.

(ii) Installation &Commissioning: Should the supplier fail to install and commissioning the project with the stipulated time the purchaser shall be entitled to recover Liquidated Damages, 0.5% of the value of the purchase order for each week of delay or part thereof or a period up to 10(TEN) weeks and thereafter @0.7% of the value of the purchase order for each week of delay or part thereof or another 10 (TEN) weeks of delay. In cases where the delay affects installation/commissioning of only a part of the project and part of the equipment is already in commercial use, then in such cases, LD shall be levied on the affected part of the project.

(iii)Provisions contained in clause 14.2(a) (i) shall not be applicable for durations (periods) which attract L.D. against clause 14.2(a) (ii) above.

(b) DP extension beyond 20 weeks would not be generally allowed. The extension beyond 20 weeks may be decided in most exceptional circumstances on case to case basis, by the Executive Director, or any other officer, looking after the work of Executive Director/CGM concerned, in case of tenders floated by Units and by the CMD in case of tenders floated by Corporate Office, stating reasons and justifications for grant of extension of delivery period beyond 20 weeks.

(c) In the case of package supply/ turnkey projects when the delayed portion of the supply materially hampers installation and commissioning of the systems, LD charges shall be levied as above on the total value of the concerned package of the Purchase Order.

(d) Quantum of liquidated damages assessed and levied by the purchaser and decision of the purchaser thereon shall be final and binding on the supplier, further the same shall not be challenged by the supplier either before Arbitration tribunal or before the court. The same shall stand specifically excluded from the purview of the arbitration clause, as such shall not be referred to arbitration.

(e) The total value of the liquidated damages as per above sub-clauses shall be limited to a maximum of 12% (Twelve percent) i.e. LD shall be levied up to 20 weeks only as per provision at Para (a).

(f) The Liquidated Damages shall be calculated on the all inclusive Price CIF-destination inclusive of Freight, Forwarding Packing, insurance,  any other incidental charges and other non-creditable taxes after discount, if any but excluding GST and other creditable taxes

(g) If the deliveries are made after expiry of the contracted delivery period, without prior concurrence of the purchaser and accepted by the consignee, such delivery will not deprive the purchaser of its right to recover liquidated damages under clause 14.2 above.

14.3	In cases where the scheduled delivery period is distributed month-wise or is in installments, the liquidated damages shall be imposed for delay in each scheduled month/ installment. Liquidated damages shall be calculated separately for quantities to be supplied in every month/ installment and the corresponding delay. If the supplier supplies full quantity before the expiry of the scheduled delivery period of the last month/ installment but there is delay in month-wise/ installment-wise supply, then also liquidated damages shall be levied on the supplies against the earlier months/ installments that have been delayed. Twenty (20) weeks for the purpose of additional BG and grant of DP extension shall be counted from the last month/ installment.

14.4.1	Notwithstanding anything contained in this Agreement or any other agreement between the parties, the Purchaser may, without prejudice to its right to effect recovery by any other method, deduct the amount of Liquidated Damages from any money belonging to the supplier in its hand in relation to this or any other contract between the parties (which includes purchaser’s right to claim such amount against invoices raised by the supplier or Bank Guarantees submitted by the supplier under this Contract or any other contract) or which may become due to the supplier. Any such recovery of Liquidated Damages shall not in any way relieve the supplier from any of its obligations to complete the Works or from any other obligation and liabilities under the Contract.

14.4.2	To facilitate recovery of Liquidated Damages from the invoices raised by the supplier, the Credit Note shall be issued by the supplier, failing which the purchaser shall adjust the amount to be recovered from the pending payments by issuing an invoice/debit note for the corresponding amount, at the risk and cost to the supplier including applicable GST, interest and penalty, if any.

15.     FORCE MAJEURE:

15.1	If at anytime, during the continuance of this contract, the performance in whole or in part by either party of any obligations under this contract is prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemic quarantine restrictions, strikes, lockouts or acts of God (herein after referred to as events) provided notice of happenings, of any such eventuality is given by the either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any  claim for damages against the other in respect of such non-performance, or delay in performance, and deliveries under the contract shall be resumed as soon as practicable after such event  come to an end or cease to exist, and the decision of the purchaser as to whether the deliveries have been so resumed or not shall be final and conclusive. Further that if the performance in whole or part of any obligation under this contract prevented or delayed by reasons of any such event for a period exceeding 60 days, either party may, at its option, terminate the contract.

15.2	Provided also that if the contract is terminated under this clause, the purchaser shall be at liberty to take over from the supplier at a price to be fixed by the purchaser. Which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in course of manufacture which may be in possession of the supplier at the time of such termination or such portions thereof as the purchaser may deem fit, except such materials, bought out components and stores as the supplier may with the concurrence of the purchaser elect to retain.

16.	TERMINATION FOR DEFAULT:

16.1	The purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default, sent to the supplier, terminate this contract in whole or in part.

a)    	If the supplier fails to deliver any or all of the goods within the time period(s) specified in the contract, or any extension thereof granted by the purchaser pursuant to clause 15.

b)    	If the supplier fails to perform any other obligation(s) under the contract, and

c)	If the supplier, in either of the above circumstances, does not remedy his failure within a period of 15 days (or such longer period as the purchaser may authorize in writing) after receipt of the default notice from the purchaser.

16.2    In the event the purchaser terminates the contract in whole or in part, pursuant to Para 16.1, the purchaser may procure, upon such terms and in such manner, as it deems appropriate, goods similar to those undelivered and the supplier shall be liable to the purchaser for any excess cost for such similar goods.  However, the supplier shall continue performance of the contract to the extent not terminated.

17.	TERMINATION FOR INSOLVENCY:

The purchaser may, at any time, terminate the contract by giving written notice to the supplier, without compensation to the supplier, if the supplier becomes unwilling, bankrupt or otherwise insolvent, as declared by the competent court provided that such, termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the purchaser.

18.	DISPUTE RESOLUTION, ARBITRATION, APPLICATION LAW AND JURISDICTION:

The parties shall endeavour to resolve any dispute under the Agreement through mutual discussions and negotiations. However, If, after thirty (30) days from the commencement of such negotiations, the efforts to resolve all or any of the disputes through negotiations fails, in that event, such disputes or differences, whatsoever arising between the parties in respect of this Agreement/contract shall be referred to Arbitration, unless the matter is time barred as per the Limitation Act, in accordance with the following provisions:

(a) 	For this purpose the Purchaser/MTNL shall publish a Panel of Arbitrator, meeting the requirements of the Arbitration and Conciliation Act as amended from time to time, consisting of eminent persons having wide experience in Telecom, Telecom Finance, Civil and Electrical fields. This panel will be of serving or retired officers of Government Departments or of Public Sector Undertakings of the rank of Joint Secretary to Govt. of India or above.

(b) 	Matters to be arbitrated upon shall be referred to the sole Arbitrator where the total value of claims does not exceed Rs. 20 crores. Beyond the claim limit of Rs.20 crores, there shall be a panel of three Arbitrators.

(c) 	For the disputes to be decided by the sole Arbitrator, the party invoking the Arbitration Clause shall submit a list of three Arbitrators from the aforesaid Panel along with the letter invoking the Arbitration. The other Party shall convey its consent for the one name as an Arbitrator out of three names within 15 days of receipt of such request.

(d) 	For the disputes to be decided by a Panel of three Arbitrators, the party invoking the Arbitration Clause shall submit one name from the aforesaid Panel, as its Nominee, along with the letter invoking the Arbitration. The other Party shall also convey the name of its nominee from the aforesaid Panel to the Party invoking the Arbitration, within 15 days of receipt of such request. Both the nominated Arbitrators shall nominate a third Arbitrator from the aforesaid Panel, who shall act as the presiding Arbitrator.

e)	Thereafter, the appointment order of the sole arbitrator/panel of three Arbitrators will be issued by ED Delhi/CMD, MTNL or any other officer on his behalf. In case, the office of ED Delhi /CMD, MTNL becomes non-existent due to restructuring or any other reason whatsoever, the officer who shall look after the works of ED Delhi /CMD shall issue the appointment order.

(f) 	Payment terms for Arbitration fees and transport allowance will be as per the MTNL guidelines. Other arbitration proceedings shall be in accordance with the Arbitration and Conciliation Act 1996, as amended from time to time, and the rules made there under shall be applicable. The Arbitration proceedings shall be held in Delhi/Mumbai.

(g) 	In the event of such an Arbitrator, to whom the matter is originally referred, being vacating his office or neglecting his work or being unable to act for any reason whatsoever, the new Arbitrator(s) shall be appointed after following the procedure as enumerated hereinabove. The person(s) so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

(h) 	No person other than the Empanelled Arbitrators of MTNL shall be appointed as an Arbitrator to adjudicate the dispute.

(i)	The Arbitration proceedings shall be in English language.

(j) 	The law of land as promulgated/modified /amended or replaced from time to time shall govern this agreement. The agreement shall be subject to exclusive jurisdiction of courts at Delhi/Mumbai.

(k) 	The decision of MTNL in respect of levy of Penalty shall be final and binding. Any dispute in relation to imposition of penalty or quantum thereof shall not be arbitrable and the clause of Dispute Resolution shall not be applicable.

18.1	ARBITRATION CLAUSE- FOR COMMERCIAL CONTRACTS WITH OTHER CPSES AND GOVERNMENT DEPARTMENTS/ ORGANISATIONS.

“In the event of any dispute or difference relating to the interpretation and application of the provisions of this Commercial contract(s)/ agreement, between the Central Public Sector Enterprises (CPSEs)/ Port Trust Inter se and also between CPSEs and Government Departments/Organisations (excluding disputes concerning Railways, Income Tax, Customs & Excise Departments), such dispute or difference shall be taken up by the either party for resolution through AMRCD as mentioned in DPE OM No. 4(1)/2013-DPE(CM)/FTS-1835 dated 22/05/2018”.

The court at Delhi/Mumbai shall have the exclusive Jurisdiction to entertain any dispute or claim arising out of contract.

19.	SET OFF:

Any sum of money due and payable to the supplier (including security deposit /PBG refundable to him) under this contract may be appropriated by the purchaser or the   MTNL or any other person(s)contracting through the MTNL and set off the same against any claim of the purchaser or MTNL or such other person or person(s) for payment of a sum of money arising out of this contract or under any other contract made by the supplier with the Purchaser or MTNL or such other person(s) contracting through the MTNL.

In case of Set off the claims by purchaser from dues of supplier against any other contract, the Purchaser reserves the right to recover the claims from the Invoices raised by the supplier for which the Credit Note shall be issued by the supplier, failing which the purchaser shall adjust the amount to be recovered from the pending payments by issuing an invoice/debit note for the corresponding amount, at the risk and cost to the supplier including applicable GST, if any.

20.	The bidder should furnish the name of this collaborator (if applicable), brand name, Model No. and type of the products offered in his tender bid. The technical literatures of the products should also be submitted.   No change in either technology or product shall be permitted after opening of bids.

21   Fall Clause:

21.1 The prices will-be governed as per provisions in clause 10.1 of section III. Further, if at any time during the contract; It comes to the notice of purchaser regarding reduction of price for the same or similar equipment/service.

AND/Or

The prices received in a new tender for the same or similar equipment /service are less then the prices chargeable under the contract.

The purchaser, for the purpose of delivery period extension, if any, will determine and intimate the new price, taking into account various related aspects such as quantity, geographical location etc. and the date of its effect for the balance quantity / service to the vendor. In case the vendor does not accept the new price to be made applicable during the extended delivery period and the date of its effect, the purchaser shall have the right to terminate the contract without accepting any further supplies. This termination of the contract shall be at the risk and responsibility of the supplier and the purchaser reserves the right to purchase the balance unsupplied quantity/service at the risk and cost of the defaulting vendor besides considering the forfeiture of his performance security and Additional Bank Guarantee.

21.2 (a) The vendor while applying for extension of time for delivery of equipment / services, If any, shall have to provide an undertaking as “We have not reduced the sale price, and / or offered to sell the same or similar equipment / services to any person/ organization including Department of Central / state Government or any central / state PSU at a price lower than the price chargeable under the contract for scheduled delivery period”.

21.2 (b) In case undertaking in clause 21.2(a) is not applicable, the vendor will give the details of prices, the name (s) of purchaser, quantity etc. to the purchaser while applying extension of delivery period.

- GST Invoice:

Tax Invoice terms:

- All the details of supplier (name, address, GSTIN/ unregistered supplier, place of supply, SAC/ HSN code etc.) and other mandatory details shall be mentioned on the invoice.

- Invoice/DN/CN/Supplementary invoice/Receipt Voucher need to be issued in compliant format and timely within the time prescribed under GST law.

- In case of any deficient supply, MTNL shall convey the same within a reasonable time to enable the supplier to issue credit note and take tax adjustment. In case supplier fails to raise credit note in time then MTNL shall be authorised to raise a debit note against such L.D. charges plus applicable GST. Such credit/debit note shall be issued before September 30th of following end of financial year in which such supply was made.

- It would be the responsibility of the supplier to declare correct information on invoice and GSTN viz. the amount, the place of supply, rate of tax etc.  In case, the eligibility of input tax credit is questioned or denied to MTNL on account of default by the supplier, the same would be recovered by MTNL from the supplier along with the applicable interest and penalty, if any.

- Registered location of the both the parties i.e. MTNL and supplier should be mentioned in the agreement with GSTIN No. Further, supplier should raise invoices at the registered premise of MTNL for availing the credit.

- MTNL could at any time instruct the supplier to raise its invoices at a particular location of MTNL

- Supplier should raise invoices at the registered premise of MTNL for availing the credit and ensure that the place of supply as per GST law is same as registered premise. It shall be the responsibility of supplier to raise invoice within the prescribed timelines

- In case the supply involves construction of civil structure and/ or supply of telecommunication towers along with supply of other goods/ services, separate invoices should be raised for construction of civil structure and/ or supply of telecommunication towers.

- In case of supply of goods, place of supply shall be every such place where goods are delivered. Even in a scenario wherein goods are collected by MTNL from vendor’s warehouse/factory gate, the place of delivery shall be the location(s) of MTNL as mentioned in the PO.

- “It shall be the responsibility of the supplier to mention State of place of supply of goods/ services in the invoice issued to MTNL”

- GST compliances

- It is the responsibility of the supplier to ensure that outward supply return (GSTR-1) would be filed correctly. If not, then cost i.e. taxes, interest and/or penalty would be borne by supplier.

- Reporting of correct outward supply by supplier in the outward return (GSTR-1) is the responsibility of the supplier. Supplier needs to ensure the following points:

- Uploading appropriate invoice details on the GSTN within the stipulated time;

- Issuing GST compliant invoice / CN/ DN.  PO issued by MTNL should be referred by supplier for capturing information on the invoice.

- Supplier needs to pay the entire self-assessed tax on timely basis.

- Where invoice not uploaded or incorrect upload of invoicing detail on GSTN by supplier then credit on such invoice will be given provisionally subject to matching. So, acceptance of changes made by MTNL on GSTN on account of non-upload or incorrect upload of details on GSTN w.r.t. the mis-match are required to be accepted by supplier within the time limit prescribed under the GST law. It should be noted that in case supplier does not accept such changes within the time limit prescribed under GST law, the loss of input tax credit, interest paid and penalty levied ,if any would be recovered from the supplier.

- In case of mismatch because of supplier’s fault, prompt amendments must be made by the supplier else supplier would be required to indemnify MTNL for the losses of credit and interest paid due to mis-match.

- Supplier to issue all necessary documentation and perform all necessary compliances for MTNL to be eligible to claim the input tax credit of GST tax to them.  In case MTNL is unable to claim the input tax credit, the amount w.r.t. GST charged by the supplier would be recovered from the supplier along with any applicable interest and/or penalty, if any as applicable by GST law.

- A self-declaration along with evidence that the bidder is not black listed by GST authorities. In case the supplier gets black-listed during the tenure of MTNL contract, then indemnity clause 24 shall be applicable to ensure that no loss of credit is borne by MTNL due to a default of supplier.

- Tax Indemnity clause

MTNL has the right to recover tax loss suffered by it due to any mis-declaration on invoice by the supplier along with any applicable interest and/or penalty, if any as applicable by GST law.

- Job  work

It may be noted that in case of goods sent to supplier for repair and maintenance qualifies as job work, it shall be supplier’s responsibility to send back the goods within prescribed timelines i.e. 1 year for goods held as stock and 3 years for capital goods.

- Movement of goods

It shall be supplier’s (registered under GST) responsibility to issue GST compliant E-way bill for movement of goods by way of supply or otherwise. As per GST law, E-way bill (wherever applicable) along with prescribed documents are to be carried by the person-in-charge of conveyance. In case supplier fails to issue E-way bill (wherever applicable) due to non-compliance or default or due to lack of diligence on  his part, it shall indemnify MTNL for the consequential  loss suffered by it, if any till the supplies  are delivered in good condition.

In case of movement of goods other than by way of supply (for instance return of goods sent by MTNL at supplier’s premises for repairs) from supplier’s premises to the registered premises of MTNL,  Vendor/contractor shall be required to move goods under a GST compliant delivery challan.

In case of procurement from unregistered vendor/supplier, the supplier is required to select the transporter who can issue an E-way bill (wherever applicable) as per GST law.

Section-IV

Special conditions of contract

- The SPECIAL CONDITIONS OF CONTRACT shall supplement ‘Instructions to the Bidders’ as contained in Section-II & “General (Commercial) Conditions of the Contract” as contained in Section-III and wherever there is a conflict, the provision herein shall prevail over those in Section-II and Section-III.

2.(i)   The Bid Security Declaration as prescribed in clauses 12 of Section II of the bid 	document shall be submitted to AGM(MPL), Room No.111, Eastern Court,    	Janpath,New Delhi-110001 before the scheduled date & time of opening of bids in a 	separate cover. This cover should be superscripted as “BID SECURITY 	DECLARATIONFOR TENDER ENQUIRY No.………………………………………………   	issued on ……..……

(ii)	In case where the document of Bid Security Declaration is not submitted in the manner 	prescribed under clause 2 (i) above, the Techno-commercial and Financial offers 	SHALL NOT BE OPENED AND THE BID SHALL BE REJECTED UNOPENED 	pursuant to Clause 31 (viii) Section-II.

(iii)	Bids along with required documents shall be submitted on-line before the due date and 	time of submission of the bids. Bidders are advised to familiarize themselves 	adequately with the e-tendering system on website https://eprocure.gov.in/well in 	advance, to avoid last minute technical glitches/errors preventing successful uploading 	of bid within specified time frame.

(iv)	In case at any stage, if it is found that the document in support of qualification to 	tender conditions is forged or tampered with or manipulated to take undue advantage	, then the concerned bidder shall be liable for forfeiture of Performance Security and/or 	debarring/ blacklisting from participation in any of the tenders of MTNL for at least one 	year.

3.  	The Small Scale Industries registered with National Small Scale Industries    Corporation (NSIC) for the tendered item under single point registration scheme and desirous of claiming concessions available to such units inclusive of bid security should submit their latest NSIC certificates and documents in respect of their monetary limit and financial capability duly certified by NSIC.

The MSEs (Micro & Small Enter prises) units/bidders registered with MSME bodies      shall be given exemption  from payment of  Bid Security deposit provided the tendered item is listed in the  Registration Certificate of MSME, subject to following:-

(a)  A proof regarding current registration for the tendered items will have to be attached along with bid.

(b)  The enlistment certificate issued by MSME bodies should be current & valid on the date of opening of bid.

4.  (i)	The supplies will be accepted only after quality assurance tests are carried out by the QA wing of BSNL as per prescribed schedule and material passing the test successfully and after authenticated excise gate pass issued by excise authorities or any organisation duly authorized by excise authorities for that purpose.

(ii)	The QA units of BSNL while clearing the equipment/stores will strictly adhere to the package discipline as described in purchase order.  Supplies made in full, as per purchase order, of all the packages during delivery period only will be deemed to have been supplied within the scheduled delivery period.

5 (i) Among all qualified bids, the lowest bid of each item will be termed as   L-1. If L-1 is a class I local supplier, the contract for full quantity will be awarded to L-1.

(ii)	If L-1 bid is not from a Class I local supplier, 50% of the tendered quantity shall be 	awarded to L-1 bidder. Thereafter, the lowest bidder among the class-I local 	supplier shall be invited to match the L-1 price for the remaining 50% quantity 	subject to class-I local supplier’s quoted price falling within the margin of 	Purchase preference mentioned above and contract for that quantity shall be 	awarded to such class-I local supplier subject to matching the L-1 price. In case 	such lowest eligible class-I local supplier fails to match the  L-1 price or accepts 	less than the ordered quantity, the next higher class-I local supplier within the 	margin of purchase preference shall be invited to match the L-1 price for 	remaining quantity and so on and contract shall be awarded accordingly. In case 	some quantity is still left uncovered on class-I local suppliers, then such balance 	quantity may also be ordered on L-1 bidder.

6.     	MTNL reserves the right to get the instrument demonstrated, if necessary to ensure that it meets all the functional requirements of the Specifications.  The bidder(s) have to demonstrate the instrument at venue and time specified by MTNL if so called for.

7.      The bidder can quote for any one or any combination or all capacities of batteries of schedule of requirement at section-V, however, the bidder shall bid for a minimum quantity of 100% in that capacity quoted by it and should have capacity to supply the same within stipulated delivery period otherwise bid shall not be evaluated

8.	In case of any discrepancy between and original and other copies of the bids, the contents and details available in original copy of the bid will prevail.

9.	In case of any discrepancy between words and figures, the amount indicated in words will prevail.

10.	The supply shall be accepted only if it is accompanied by the Excise Gate Pass/Invoice wherever applicable.

11.	The Vendor/Bidder will ensure that the TSEC and NSIC/ MSME certificate remain valid during the entire contract period.

12.     In case new tender is opened during extended period of delivery and prices in new tender are found to be lower than this tender, then the lower of two shall be applicable for the supply of the tendered item / items w.e.f.  the date of opening of the tender.

- The bidders shall submit a hard copy of the bid also before the date and time of submission of the bids. In case of non-functioning/malfunctioning of e-tendering system. The hard copy(s) will be opened with the approval of tender approving authority. If any bidder does not submit hard copy, it will be at bidder’s risk.  In case of discrepancy between the hard copy and the soft copy submitted online, the soft copy shall govern/prevail.

14.      The purchaser reserves the right to disqualify such bidders whose past performance is poor and on whom penalties like blacklisting or debarring from participating are pending/ contemplated or imposed or entertained.

15.	No Post bid clarifications at the initiative of the bidder shall be entertained and any effort by the bidders to influence the purchaser in the purchaser’s bid evaluation, bid comparison or contract award shall result in rejection of the bid.

16.	(i) Successful bidder will establish service centre at Delhi within Two months from date of first supply.

(ii)During warranty period, contractor/firm shall return repaired/replaced equipment within four week from the date of collection of the equipment.  In case, the contractor fails to return repaired/renewed faulty equipment, a penalty charges shall be levied @ Rs. 1000/- per day up to 2 months.  In case, the contractor/ firm fails to rectify the fault within 2 months, MTNL reserve the right to recover the cost of the faulty equipment and may initiate action against firm.

17.	The supply shall be accepted only if it is accompanied by the Excise Gate Pass wherever applicable.

18.	The bidder should furnish the name of this collaborator (if applicable), brand name, model No. and type of the products offered in his tender bid.  The technical literatures of the products should also be submitted.   No change in either technology or product shall be permitted after opening of bids.

19.   PRICE VARIATION CLAUSE:

19.1 Tenderers must not confuse the price quoted by them with the price of Lead. While quoting the price they are at liberty to take all factors into account such as market price, trend of the raw material, escalation from time to time in the labour index, and fluctuation in the price of raw materials for which compensation in the form of PV is not allowed by the MTNL.

It is made clear to them that lead price calculated as per clause 19.2 & 19.3 is the reference point for calculating the increase or decrease only due to change in raw material price/prices for which the PV is permitted.

Under no circumstances they are allowed to tamper with price of Lead calculated under clause 19.2 & 19.3. Any statement made i.e. any mention of price in contrary to the Para 19.2 & 19.3 below shall be ignored and MTNL shall be at liberty to reject such offers.

19.2 BASE PRICE OF RAW MATERIALS:-

Price quoted must be based on lead prices. The price of lead for the purpose of PV (Price Variation) shall be computed on average LME, price in Indian Rupees as per the formula indicated below.

Average LME price of Lead in USD x SBITT selling rate averaged over the month.

Price Variation will be calculated on the basis of the lead price Rs.1,42,935.08/MT (issued by BSNL HQ during 1st week of November 2020)

19.3 PRICE VARIATION FORMULA:-

19.3.1 PRICE VARIATION will be applicable as per Standard Price Variation given below,

For every increase/decrease of price of lead by Rs.1000.00 per MT, the price of various capacities of batteries will increase/ decrease as per the PV Table shown below.

| Sr. No. | Size of Battery | PV (in Rs.) for every increase/decrease of Rs. 1000 in Average LME price of Lead per MT |
| --- | --- | --- |
| 1. | 600 AH | 593.64 |
| 2 | 1000 AH | 1010.88 |
| 3 | 1500 AH | 1460.64 |
| 4 | 2000 AH | 2021.76 |
| 5 | 3000 AH | 2921.28 |
| 6 | 4000 AH | 4043.52 |
| 7 | 5000 AH | 4947.84 |

19.4 Original/ Photostat copy of the relevant circular from, BSNL, HQ, New Delhi (duly attested) for the concerned RAW MATERIAL has to be produced for price Variation as documentary evidence along with Bills preferred for payment.

19.5. Price of Raw material i.e. Lead (on which the price variation is applicable) as prevalent during the previous month to the month in which Inspection Certificate is issued will apply for the price variation Clause and applicable for the quantities for which IC Certificate by QA is released in that month. The price variation is to be calculated on the basis of the monthly price and will be applicable to the date of issue of the Inspection Certificate by QA Wing.

19.6. Any increase in the price of Raw Material i.e. lead (on which the price variation is applicable) beyond the scheduled delivery date will go to the supplier’s account. In such cases the price of lead prevailing in the last month of original delivery schedule shall prevail. But the benefit of downward revision will go to the purchaser.

19.7  In case of new tender is opened during the extended period of delivery & the prices are found to be lower than this tender, then same shall be applicable for the supply relevant battery with effect from the date of opening of new tender.

19.8 	It is made clear that the suppliers have to make their own arrangement for raw material from the market and the department shall not provide any assistance or essentiality certificate in this regard. The above guide lines have been given only for the purpose of price variation.

19.9	The PV amount worked out will be added/subtract from approved composite prices of respective VRLA batter. PV for Lead shall be allowed with ED & ST only (as per duty/tax rate of L-1/ approved price)

20.  The bidders shall submit a hard copy of the bid also before the date and time of submission of the bids. The hard copy shall be referred only in case the e-procurement system does not function properly. In the event of any discrepancy between the hard copy and the soft copy submitted online, the soft copy shall govern/prevail.

Section-V

SCHEDULE OF REQUIREMENTS

Subject:	Tender No.: AGM (MPL)/ Battery Sets /2020-21/01

          - Requirement:-

| S.No | Item | Qty in sets |
| --- | --- | --- |
| 1 | (24*2)48V/600 AH Battery | 28 |
| 2 | (24*2)48V/1000 AH Battery | 10 |
| 3 | (24*2)48V/1500 AH battery | 06 |
| 4 | (24*2)48V/2000 AH Battery | 09 |
| 5 | (24*2)48V/3000 AH Battery | 02 |
| 6 | (24*2)48V/4000 AH Battery | 04 |
| 7 | (24*2)48V/5000 AH Battery | 02 |

Total                                   61   sets

2. 	Technical Specification	As per tender document Section-VI.

3.   Delivery requirement:		      As per clause No. 6 of section-III of tender document.

4.   Place of Delivery:                               	As per Consignee details.

5.    Paying Authority:		     Accounts Officer (CASH) MM,

6.    Inspecting Authority:	BSNL (QA).

7.  Configuration to be offered	                   As per section VI of the tender document.

PART-A

(Techno-Commercial bid)

Annexure-B

(Strike-off whatever is not applicable)

Compliance (clause by clause) Certificate

Reference: T. E. No: AGM (MPL)/ Battery Sets/2020-21/01

It is to certify that the tender document is carefully read & understood and all the sections and clauses are complied unconditionally & unequivocally. There is no deviation from the terms & conditions of the tender.

(Sign. Of the bidder with seal)

Or

Declaration of Deviation (If any)

Reference: T. E. No: AGM (MPL)/ Battery Sets/2020-21/01

It is to certify that the tender document is carefully read & understood and all the sections and clauses are complied unconditionally & unequivocally except the following deviations from the terms & conditions of the tender:

A)

B)

C)

D)

.

.

(Sign. Of the bidder with seal)

ANNEXURE - H

No……….…………

Dated:…..………..

BID SECURITY DECLARATION

Subject : 	Declaration of bidder (Other than MSME) in lieu of submission of Bid Security deposit / Earnest Money deposit.

Sir,

We M/s ………………. are submitting this declaration in lieu of Bid Security deposit / Earnest Money deposit against MTNL Tender Enquiry No………………………………………..……...dated………....

2.	We do hereby declare that we will not withdraw or modify our bids during the period of validity of bid specified in tender document and if we are awarded the contract we will sign the contract  and submit a performance security of requisite amount before the deadline defined in the bids / Advance Purchase Order/LOI.

3.	We further declare that if we are failed to comply as per our declaration at para 2 above, we M/s ……………………………………….…..will not be eligible to participate in the MTNL tender for any item / product for one year from the date of issue of APO/LOI. We will not approach the court against the decision of MTNL in this regard.

Signature of authorize signatory

Name…………..

Address………..

Office Stamp……….

SECTION-VI

Technical Specifications for VRLA Battery Sets:-

As per TEC specification No. TEC/GR/TX/BAT-001/04 June 2011 with latest amendment no.1 dated 24.07.2012 and with all the Amendments as on date of opening of tender

Each Battery Bank SHOULD INCLUDE FUSE PANEL AND TWO FUSES OF PROPER RATING. FUSE PANEL SHOULD HAVE BUS BAR CONNECTING ARRANGEMENT FROM TAKE-OFF TERMINAL OF BATTERY BANK FOR BOTH POSITIVE AND NEGATIVE.

Section-VII

PART A

BID FORM

To,

AGM (MPL),

Room N0-111,

Eastern Court,

New Delhi-110001

Dear Sir,

- Having examined the conditions of contract and specifications including addenda    Nos……………………..the receipt of which is hereby duly acknowledged, we, undersigned, offer to supply and deliver ………………………………………………in conformity with the said drawings, conditions of contract and specifications for the sum shown in the price schedule attached herewith and made part of this bid.

2.   	We undertake, if our bid is accepted, to commence deliveries within (45) days and  to complete delivery of all the items specified in the contract within (180 days ) calculated from the date of  issue of your purchase order.

3.   	If our bid is accepted, we will obtain the performance guarantees of a Scheduled Bank for a sum @3% of the contract value for the due performance of the contract.

4. 	We agree to abide by this bid for a period of. 150…………Days from the date fixed for bid opening and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Until a formal Purchase Order of contract is prepared and executed, this bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

- Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

- We understood that you are not bound to accept the lowest or any bid, you may receive.

Name and Signature…………………………………………

Dated this …………………………day of ……………….2021

………………………….

In the capacity of……………………….

Duly authorized to sign the bid for and on behalf of…………………………………..

Witness………………………

Address………………………

Signature…….………………

Section-VII

(Part-B)   FORM-A

1.The Tenderer

i) Name of the Company

ii) Mailing Address

Telephone

FAX

E-mail

iii) Location of manufacturing facility.

iv) Name of the Managing Director.

2. Maufacturing Capacity, (Product wise)

i) Licensed Capacity

ii) Installed Capacity.

iii) Equipped Capacity for through put.

iv) Actual production/sales of the quoted items

during the last three years.

3. i) Brief description of the facilities for

Manufacture, production, inspection,

Testing and quality assurance.

ii) If the equipment (s) being offered has been

evaluated/tested by any organisation such as

TEC/DOT (QA)/ISI/ISO 9001/9002 or eq-

-uivalent certification etc., details of same

May please be provided.

4) State whether the equipment offered conform

to the specifications  in the tender and subsequent

amendment, if any clearly state the deviations,

if any.

5) State specifically whether the price(s) quoted, to the

to the best of your knowledge and belief, are not higher

than what is permissible to you from a private purchaser

for similar good under any law in force at the time of bidding

If not, state the reason(s) and the margin of profit.

6) Constitution of the Company

i.e. is the company Registered under

i) The Indian Companies Act 2013

ii) The Indian Partnership Act 1931

Name of the Partners i)

ii)

iii)

iii) Any other Act (give details)

7. Please state if the offers are directly from the Manufacturers    Yes /No

If no to 7th

i) Do they have Distributors /Dealers/Marketing Agents etc.          Yes/No

ii) If yes, please state

iii) The Name and Address of the Distributors

/ Dealers/Marketing Agents etc

iv) The service & the Distributors /Dealers/Marketing

Agents etc. shall provide.

v) Amount of Commission /Remuneration payable to

the Distributors /Dealers/Marketing Agents

8. Brief description of After sales service facilities

available with the Bidder

i) Repair shop

a) Location

b) Facilities available for repairs

ii) No. of employees for customer support/

after sales service at Delhi

(Attached documentary proof)

a) Engineers

b) Technicians

9. Are you providing comprehensive

post warranty annual maintenance

to the organizations at Delhi where you

have supplied similar goods in the past.

i) If yes, name three such organizations

ii) Are the above organizations satisfied

with the performance and quality of

Service rendered?

10) Please indicate the details of

The items being offered has been

Supplied during last three years

to any other organization.

11) Details of the similar items supplied

Installed and commissioned in last

three years.

(Attach documentary proof)

12) Details of Bank Particulars, Branch, MICR No., IFSC/RTGS Code, etc.

Signature with Stamp

SECTION VIII

Deleted

SECTION –IX

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

(In case bidder desired to physically attend bid opening, otherwise firm can participate online)

To reach in the O/o AGM (MPL), Room No-111, Eastern Court, New Delhi-110001

To

Asstt. Genl. Manager (MP-L)

Room No-111,

Eastern Court,

NEW DELHI-110001

Subject:  Authorization for attending bid opening on in the tender No: T. E. No: AGM (MPL)/ Battery Sets/2020-21/01

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of_________________________________________ (bidder) in order of preference given below: -

#### Order Preference		Name                                                   Specimen Signature

I.

II.

Alternate

Representative.

Signature of Bidder

OR

Officer authorized to

Sign. the bid documents

on behalf of the bidder.

Note:

1.	Maximum of two representatives will be permitted to attend bid opening.  In cases where it is restricted to one, first preference will be allowed.  Alternate representative will be permitted when regular representatives are not able to attend.

2.	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not received.

SECTION –X

(INDEMNITY BOND ON Rs. 100/- STAMPED PAPER DULY NOTARIZED)

DECLARATION:

I _____________________son of /wife of Shri_______________________

And proprietor /Director / partner/ Authorized Signatory of M/S________________________________

Do hereby solemnly affirm and declare as under:-

1. That I am the sole prop./partner/Director/ Authorized Signatory of M/s ------------------------------------------------------------------------------------------------------------------------------    which

has never ever been debarred and / or black-listed by any MTNL/BSNL unit and not having any on going litigation or court case pending or any other money suits also state that the bid is not submitted in the name of this firm while being Director or partner or proprietor or authorized signatory of such firm which is either debarred, black-listed or has entertained litigation or having on going litigation or court cases or money suits pending regarding the failure of contractual obligations.

2. That I state & declare that none of my near relatives or any of the partners or other directors, are working in MTNL in general and in MM and construction wings in particular.

In case the above declaration is found to be incorrect or wrong, the contract if awarded to the firm shall be terminated immediately and the firm shall be liable to black-listed / debarred for future works / contract with MTNL/BSNL/DOT. Any such action shall however be without prejudice to MTNL’s rights under the law.

The above declaration is given in accordance with the NIT conditions.

Signature of Prop. /Partner/Director/ Authorized Signatory

(Shri / Smt./Miss)

Note: 1. If the firm has been debarred and / or blacklisted by any Deptt. Of Central Govt./State Govt./PSU/Public bodies / Municipalities in past and now the order has been revoked or period finished or court case is under process, then firm should furnish details of such cases.

2. The near relatives for this purpose are defined as per clause no. 34 of section-II.

3. The authorized signatory is signing this indemnity bond on behalf of proprietor/directors/partners and will not relieve the proprietor/directors/partners from any /all the legal bindings as envisaged herein.

PART-B

(Financial Bid)

Section-XI

PRICE SCHEDULE

Subject:	T. E. No: AGM (MPL)/ Battery Sets/2020-21/01

| Sl No. | Item (Description of Battery Sets) | HSN Code | Quantity in Nos | Basic Unit Price CIF-destination inclusive of Freight, Forwarding Packing, insurance and any other incidental charges in Rs. | Discount offered if any on Basic unit price | Basic Unit Price CIF-destination inclusive of Freight, Forwarding Packing, insurance and any other incidental charges after discount if any in Rs. . | GST Rate | Unit Price inclusive of GST (7)+(9)in Rs. | Total Price (4) x (10) in Rs. | GST Credit Eligible Amount in Rs. | Net cost to MTNL excluding GST Credit Eligible Amount (11-12 )In Rs. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | % | Amount (Rs) |  |  |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 1 | 48V/600 AH |  | 28 |  |  |  |  |  |  |  |  |  |
| 2 | 48V/1000 AH |  | 10 |  |  |  |  |  |  |  |  |  |
| 3 | 48V/1500 AH |  | 06 |  |  |  |  |  |  |  |  |  |
| 4 | 48V/2000 AH |  | 09 |  |  |  |  |  |  |  |  |  |
| 5 | 48V/3000 AH |  | 02 |  |  |  |  |  |  |  |  |  |
| 6 | 48V/4000 AH |  | 04 |  |  |  |  |  |  |  |  |  |
| 7 | 48V/5000 AH |  | 02 |  |  |  |  |  |  |  |  |  |

NOTE:

- Bidder can participate one or more than one item of batteries.

- “We hereby certify that HSN code shown in Col. 3 is correct & Input Tax Credit for the amount shown in Col. (8) and (9) above is admissible as per GST Rules”.

- The bidder shall quote separately for hardware and software as per special conditions of the contract.

- In case the bidder is registered under composite scheme then no GST shall be payable. Bidder should make declaration in bid document with regard to being a Composition Dealer under GST and fill the amount as “NIL” in the column “GST Credit Eligible” in column 12.The vendor shall mention in the invoice prominently that it is under composition scheme under GST ACT, 2017.

- The bidder submitting the offer with concessional Goods and Services Tax (GST), shall submit the proof of applicable concessional GST.  In case the concessional GST is not creditable to MTNL it shall be included in the price of the goods/services and “NIL” amount be mentioned in the column “GST Credit Eligible” in column 12.

(Sign. of Bidder with seal)

PART-C

(Proforma for documents required at the time of award of contract)

Section XII

PROFORMANCE SECURITY GUARANTEE BOND

1.	In consideration of the ED, MTNL, Delhi (herein after called “MTNL”) having agreed to exempt-----------------------------------(herein after called “The said contractor(s)”) from the demand under the terms and conditions of an agreement/advance purchase order No…………………………………………………………dated………………..made between……………………………..and ……………………………….for the supply of ……………………………….(herein after called “The said agreement”),  of security deposit for the due fulfilment by the said contractor(s) of the terms and conditions contained in the said agreement, on production of the Bank Guarantee for ………………….we, (name of the bank)……………………(herein after referred to as “ the bank”) at the request of……………………………(contractor(s)) do hereby under take to pay to the MTNL an amount not exceeding …………………..against any loss or damage caused to or suffered or would be caused to or suffered by MTNL by reason of any breach by the said contractor(s) of any of the terms or conditions contained in the said agreement.

2.	We (name of the bank)………………………do hereby under take to pay the amounts due and payable under this guarantee without any demure, merely on a demand from the MTNL by reason of breach by the said contractor(s) of any of the terms or conditions contained in the said agreement or by reason of the contractor(s) failure to perform the said agreement.  Any such demand made on the bank shall be conclusive as regards the amount due and payable by the bank under this guarantee where the decision of MTNL in these counts shall be final and binding on the bank.  However, our liability under this guarantee shall be restricted to an amount not exceeding………………………………………. .

3.	We under take to pay to the MTNL any money so demanded notwithstanding any dispute or disputes raised by the contractor(s)/supplier(s) in any suit or proceeding pending before any court or tribunal relating thereto our liability under this present being absolute and unequivocal.  The payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payments.

4.	We (name of the bank)…………………………………………….further agree that the guarantee herein contain shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all dues of the MTNL under or by virtue of the said agreement have been fully paid and its claims satisfied of discharged or till (office/department) MTNL certifies that the terms and conditions of the said agreements have been fully or properly carried out by the said contractor(s) and accordingly discharges this guarantee.  Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of Three years (as specified in the PO) from the date thereof.  We shall be discharged from all liabilities under this guarantee thereafter.

5.	We (name of the bank)…………………………………further agree with MTNL, that the MTNL shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s)from time to time or to postpone for any time or from time to time any of the powers exercisable by the MTNL against the said contractor(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said contractor(s) or for any forbearance, act or omission on part of MTNL or any indulgence by the MTNL to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

6.	This guarantee will not be discharged due to the change in the constitution of the bank or the contractor(s)/supplier(s).

7.   We (name of the bank)……………………………..lastly under take not to revoke this guarantee during its currency except with the previous consent of the MTNL, in writing.

Dated the……………………..day of ………………2021

For………………………………………………………

(Indicate the name of the bank)

Full Address of the branch

Tel. No. Of branch:

FAX No. Of branch

Section XII (A)

ADDITIONAL BANK GUARANTEE

To

MTNL,

1.	In consideration of the Competent Authority, (hereinafter called “MTNL”) having agreed to exempt-----------------------------------(hereinafter called “The said contractor(s)”) from the demand under the terms and conditions of an agreement/advance purchase order No…………………………………………………………dated………………..made between……………………………..and ……………………………….for the supply of ……………………………….(hereinafter called “The said agreement”),  of security deposit for the due fulfilment by the said contractor(s) of the terms and conditions related to extension of Delivery schedule contained in the said agreement, on production of additional Bank Guarantee for ………………….we, (name of the bank)……………………(hereinafter refer to as “ the bank”) at the request of……………………………(contractor(s)) do hereby under take to pay to the MTNL an amount not exceeding …………………..against any loss or damage caused to or suffered or would be caused to or suffered by MTNL by reason of any breach by the said contractor(s) of any of the terms or conditions related to the delivery schedule contained in the said agreement.

- We (name of the bank)………………………do hereby under take to pay the amounts due and payable under this guarantee without any demure, merely on a demand from the MTNL by reason of breach by the said contractor(s) of any of the delivery schedule related terms or conditions contained in the said agreement or by reason of the contractor(s) failure to perform the said agreement within the extended delivery schedule.  Any such demand made on the bank shall be conclusive as regards the amount due and payable by the bank under this guarantee where the decision of MTNL in these counts shall be final and binding on the bank.  However, our liability under this guarantee shall be restricted to an amount not exceeding………………………………………. .

- We under take to pay to the MTNL any money so demanded notwithstanding any dispute or disputes raised by the contractor(s)/supplier(s) in any suit or proceeding pending before any court or tribunal relating thereto our liability under this present being absolute and unequivocal.  The payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payments.

- We (name of the bank)…………………………………………….further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the delivery schedule related obligations against the said agreement have been fully met or till -----------------------------------------------------------(Office/Department) MTNL certifies that the delivery schedule related terms & conditions of said agreement have been fully or properly carried out by the said contractor (s) and accordingly discharges this guarantee.  Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of One year (for delivery of goods)/ One and Half Years ( For turnkey projects) from the date hereof.  We shall be discharged from all liabilities under this guarantee thereafter.

- We (name of the bank)…………………………………further agree with MTNL, that the MTNL shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s)from time to time or to postpone for any time or from time to time any of the powers exercisable by the MTNL against the said contractor(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said contractor(s) or for any forbearance, act or omission on part of MTNL or any indulgence by the MTNL to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

- This guarantee will not be discharged due to the change in the constitution of the bank or the contractor(s)/supplier(s).

7. We (name of the bank)……………………………..lastly under take not to revoke this guarantee during its currency except with the previous consent of the MTNL, in writing.

Dated the……………………..day of ………………2021

For………………………………………………………

(Indicate the name of the bank with full address)

Witness:

1.

2.

Telephone no of Bank

FAX No. of Bank

SECTION XIII

PROFORMA FOR AGREEMENT

This Agreement is made on this day of _____________________________

BETWEEN

MAHANAGAR TELEPHONE NIGAM LIMITED, a company registered under the Indian Companies Act and having its Registered office at 5th floor 9,.C.G.O. Complex Lodi Road New Delhi-110003 (hereinafter called MTNL)

The term MTNL shall unless repugnant to the context of contrary to the meaning shall include all its assigns, successors, and persons nominated or appointed by MTNL and interalia, deal with the supervise the execution of this contract.

And

__________________________________________________________________ A COMPANY REGISTERED UNDER THE INDIAN Companies act having its registered office at __________________________________________________________ who is Managing Director in the company and is fully authorized and competent to enter into sign. This agreement on behalf of the company (hereinafter called “Contractor”

Where as the contractor has made the offer /tender to dully perform the work under this contract for being the supply of ____________________________________ after making himself aware and understanding fully the implications of the terms and conditions and specifications along with the contract and related documents/ agreements which offer/tender has been accepted by the MTNL on the terms and conditions mentioned herein after and after representing that he is fully capable of complying with the aforesaid term.

Whereas the contractor has undertaken to furnish a performance guarantee for a sum of Rs.___________________ only in the form of Bank Draft drawn in favor of MTNL on any schedule Bank at Delhi or an unconditional Irrevocable Bank Guarantee in favor of MTNL for a minimum period of 36 months.

1.	Whereas the contractor has submitted the required Income-Tax Certificate from the Income Tax officer concerned    in the appropriate form.

The contract document shall mean and include apart from the present documents, the following: -

a)	The terms and conditions stated in the Notice Inviting Tender No.______________________________ including instructions/special instructions and General/Special conditions contained therein.

b)	The specifications for ________________________contained in Tender document.

c) 	Amendment/ Modifications issued vide letter No ___________________dated __________

d)	Offer of the contractor _______________________________dt___________

2. 	Now, Therefore, the contracting parties agree that the contractor shall supply the _____________________________________________________and the following term and conditions.

| ITEM | QTY. | ALL INCLUSIVE UNIT PRICE | TOTAL QTY PROPOSED by THE PURCHASE | WARRANTY PERIOD |
| --- | --- | --- | --- | --- |

3(i) 	The all-inclusive price(s) offered under the contract includes GST, Freight, Insurance, installation , commissioning and Delivery at site in Delhi.

ii) 	MTNL shall have discretion to place add-on order(s) up to a maximum of 100% in one or more lots during one year from the date of issue of PO at the same prices or a downwardly negotiated rate subject to the terms & conditions stipulated in the NIT.

iii) 	Any delay in successful supply of the ordered quantities of the equipment shall attract Liquidated Damages at the rates prescribed in the NIT.

4. 	INTERPRETATION:

4.1 	The contract shall comprise of all the documents, referred to herein before under para _________________provided that in the event of any inconsistency between the terms thereof and the terms of any other documents on para ________________comprising part of this contract the terms hereof shall prevail.

4.2	The words IT, He and Their derivatives are used for any person whether male or female or a juristic person. Unless contrary appears from the contract word imparting the singular number include the plural number and words imparting the plural number include the singular number.

4.3	The marginal notes, if any, or the heading shall not control the meaning of the body of the clauses stated hereinabove. The same shall not be referred to for a purpose of interpreting and constructing the terms of this contract.

5.   	JURISDICTION:

5.1 	The parties hereby agree that the courts in the city of New Delhi alone shall have the jurisdiction to entertain any application or other proceedings in respect of anything arising under this contract and any award or awards made by the sole arbitrator herein under shall be filed in the concerned Courts on the city of New Delhi only.

6.   	EFFECTIVE DATE

This contract shall become effective on from the date the Performance Guarantee to the satisfaction of MTNL is furnished by the contractor. On receipt of the said guarantee MTNL shall issue a certificate, which shall specify the date on which the guarantee was received by the MTNL, which date shall, for the purpose of this contract, be deemed to be the Effective Date.

In witness Where of both the parties have put their signature below:-

EXECUTIVES

WITNESS-1

WITNESS-2

Section-XIV

(Annexure-E)

Format for Self-Certification regarding local content (LC) for Telecom product, Services or Works

Dated: ……

I ………..S/o, D/o, W/o ………………….., Resident of ………………………….do hereby solemnly affirm and declare as under:

That I agree to abide by the terms and conditions of Department of Telecommunications, Government of Tndia issued vide Notification No:…………….. dated …………..

That the information furnished hereinafter is correct to best of my knowledge and belief and I undertake to produce relevant records before the procuring entity or any other authority so nominated by the Department of Telecommunications, Government of India for the purpose of assessing the LC.

That the LC for all inputs which constitute the said Telecom Product/Services/Works has been verified by me and I am responsible for the correctness of the claims made therein.

That in the event of the LC of the Telecom Product/Services/Works mentioned herein is found to be incorrect and not meeting the prescribed LC norms, based on the assessment of an authority so nominated by the Department of Telecommunications, Government of India and I will be liable as under clause 9 (f) of Public Procurement (Preference to Make in India) Order 2017.

I  agree to maintain all information regarding my claim for LC in the Company's record for a period of 2 years and shall make this available for verification to any statutory authorities.

- Name and details of the Local supplier (Registered Office, Manufacturing unit location, nature of legal entity)

- Date on which this certificate is issued

- Telecom Product/Services/Works for which the certificate is produced

- Procuring agency to whom the certificate is furnished

- Percentage of LC claimed

- Name and contact details of the unit of the manufacturer.

- Sale Price of the product

- Ex-Factory Price of the product.

- Freight, insurance and handling x. Total Bill of Material xi. List and total cost value of inputs used for manufacture of the Telecom Product/Services/Works

- List and total cost of inputs which are locally sourced. Please attach LC certificates from local suppliers, if the input is not in-house.

- List and cost of inputs which are imported, directly or indirectly

For and on behalf of ……………………………. (Name of firm/entity)

Authorized signatory (To be duly authorized by the Board of Directors)

Name…………………………

Designation…………………………..

Contact Number……………………….

Date…………………………………………………

ANNEXURE - F

"I……….S/D/O……..     have read the clause regarding restrictions on procurement from a bidder of a country which shares a land border with India; I certify that we M/s …………..is not from such a country or, if from such a country, has been registered with the Competent Authority. I hereby certify that we, M/s ………. fulfill all requirements in this regard and is eligible to be considered. Copy of  valid registration by the Competent Authority is attached herewith ( if applicable) . Further, it is to undertake that we M/s …………………. will not sub-contract any work to a contractor from such country (ies) unless such contractor is registered with the Competent Authority”.

(Signature of Proprietor/Director/Partner/Authorized Signatory)

(Sh./Smt./Miss._____________________)

SECTION- XV

Warranty Certificate

The contractor shall warrant that material to be provided shall be as per technical specification and shall be free from all defects and faults and shall be of the highest grade consistent with the established and generally accepted standards of this type and shall perform in full conformity with the specifications and drawings. The contractor shall be responsible for any defects that may develop during proper use arising from faulty materials, design or workmanship inadequate quantity of material to meet equipment requirements, inadequate contact protection, deficiencies in circuit design and or otherwise and shall remedy such defects at his own cost when called upon to do so by the Divisional Engineer in charge of installation who shall state in writing in what respect store/job is faulty.

This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire except in respect of complaints notified prior to such date, Twenty Four (24) months after the date of installation or Thirty (30) months from the date of supply which ever is earlier or minimum guarantee period of the job.

If it becomes necessary for the contractor to replace or renew any defective portion/portions of the equipment under this clause, the provisions of the clause shall apply to the portion/portions of equipment so replaced or renewed or until the end of the above mentioned period of 24 /30 Months , whichever may be later.  Similar provisions will be applicable in respect of rectification made to the job /works if any defect is not remedial within a reasonable time, MTNL may proceed to do the work /supply at the contractor’s risk and expenses, but without prejudice to any other rights which the MTNL may have against the contractor in respect of such defects.

Replacement /renewal/rectification under warranty clause shall be made by the contractor, free of all charges at site including freight, insurance and other incidental charges and cost.

During warranty period, contractor/firm shall return repaired/replaced equipment within four week from the date of collection of the equipment.  In case, the contractor fails to return repaired/renewed faulty equipment, a penalty charges shall be levied @ Rs. 1000/- per day up to 2 months.  In case, the contractor/ firm fails to rectify the fault within 2 months, MTNL reserve the right to recover the cost of the faulty equipment and may initiate action against firm.

Part-D

Section-XVI

Special instructions to Bidders for e-Tendering

The bidders are required to submit soft copies of their bids electronically on the CPP Portal, using valid Digital Signature Certificates. The instructions given below are meant to assist the bidders in registering on the CPP Portal, prepare their bids in accordance with the requirements and submitting their bids online on the CPP Portal.

More information useful for submitting online bids on the CPP Portal may be obtained at: https://eprocure.gov.in/eprocure/app

REGISTRATION

1) 	Bidders are required to enroll on the e-Procurement module of the Central Public Procurement Portal (URL: https://eprocure.gov.in/eprocure/app) by clicking on the link “Online bidder Enrollment” on the CPP Portal which is free of charge.

2) 	As part of the enrolment process, the bidders will be required to choose a unique username and assign a password for their accounts.

3) 	Bidders are advised to register their valid email address and mobile numbers as part of the registration process. These would be used for any communication from the CPP Portal.

4) 	Upon enrolment, the bidders will be required to register their valid Digital Signature Certificate (Class III Certificates with signing key usage) issued by any Certifying Authority recognized by CCA India (e.g. Sify / nCode / eMudhra etc.), with their profile.

5) 	Only one valid DSC should be registered by a bidder. Please note that the bidders are responsible to ensure that they do not lend their DSC’s to others which may lead to misuse.

6) 	Bidder then logs in to the site through the secured log-in by entering their user ID / password and the password of the DSC / e-Token.

SEARCHING FOR TENDER DOCUMENTS

1) 	There are various search options built in the CPP Portal, to facilitate bidders to search active tenders by several parameters. These parameters could include Tender ID, Organization Name, Location, Date, Value, etc. There is also an option of advanced search for tenders, wherein the bidders may combine a number of search parameters such as Organization Name, Form of Contract, Location, Date, Other keywords etc. to search for a tender published on the CPP Portal.

2) 	Once the bidders have selected the tenders they are interested in, they may download the required documents / tender schedules. These tenders can be moved to the respective ‘My Tenders’ folder. This would enable the CPP Portal to intimate the bidders through SMS / e-mail in case there is any corrigendum issued to the tender document.

3) 	The bidder should make a note of the unique Tender ID assigned to each tender, in case they want to obtain any clarification / help from the Helpdesk.

PREPARATION OF BIDS-

1) 	Bidder should take into account any corrigendum published on the tender document before submitting their bids.

2) 	Please go through the tender advertisement and the tender document carefully to understand the documents required to be submitted as part of the bid. Please note the number of covers in which the bid documents have to be submitted, the number of documents - including the names and content of each of the document that need to be submitted. Any deviations from these may lead to rejection of the bid.

3)	 Bidder, in advance, should get ready the bid documents to be submitted as indicated in the tender document / schedule and generally, they can be in PDF / XLS / RAR / DWF/JPG formats. Bid documents may be scanned with 100 dpi with black and white option which helps in reducing size of the scanned document.

4) 	To avoid the time and effort required in uploading the same set of standard documents which are required to be submitted as a part of every bid, a provision of uploading such standard documents (e.g. PAN card copy, annual reports, auditor certificates etc.) has been provided to the bidders. Bidders can use “My Space” or ‘’Other Important Documents’’ area available to them to upload such documents. These documents may be directly submitted from the “My Space” area while submitting a bid, and need not be uploaded again and again. This will lead to a reduction in the time required for bid submission process.

Note: My Documents space is only a repository given to the Bidders to ease the uploading process. If Bidder has uploaded his Documents in My Documents space, this does not automatically ensure these Documents being part of Technical Bid.

SUBMISSION OF BIDS

1) 	Bidder should log into the site well in advance for bid submission so that they can upload the bid in time i.e. on or before the bid submission time. Bidder will be responsible for any delay due to other issues.

2) 	The bidder has to digitally sign and upload the required bid documents one by one as indicated in the tender document.

3) 	Bidder has to select the payment option as “offline” to pay the tender fee  and enter details of the instrument.

4) 	Bidder should prepare the EMD/Bid security as per the instructions specified in the tender document. The original should be posted/couriered/given in person to the concerned official, latest by the last date of bid submission or as specified in the tender documents. The details of the DD/any other accepted instrument, physically sent, should tally with the details available in the scanned copy and the data entered during bid submission time. Otherwise the uploaded bid will be rejected.

5) 	Bidders are requested to note that they should necessarily submit their financial bids in the format provided and no other format is acceptable. If the price bid has been given as a standard BoQ format with the tender document, then the same is to be downloaded and to be filled by all the bidders. Bidders are required to download the BoQ file, open it and complete the white coloured (unprotected) cells with their respective financial quotes and other details (such as name of the bidder). No other cells should be changed. Once the details have been completed, the bidder should save it and submit it online, without changing the filename. If the BoQ file is found to be modified by the bidder, the bid will be rejected.

6)	 The server time (which is displayed on the bidders’ dashboard) will be considered as the standard time for referencing the deadlines for submission of the bids by the bidders, opening of bids etc. The bidders should follow this time during bid submission.

7)	All the documents being submitted by the bidders would be encrypted using PKI encryption techniques to ensure the secrecy of the data. The data entered cannot be viewed by unauthorized persons until the time of bid opening. The confidentiality of the bids is maintained using the secured Socket Layer 128 bit encryption technology. Data storage encryption of sensitive fields is done. Any bid document that is uploaded to the server is subjected to symmetric encryption using a system generated symmetric key. Further this key is subjected to asymmetric encryption using buyers/bid opener’s public keys. Overall, the uploaded tender documents become readable only after the tender opening by the authorized bid openers.

7) 	The uploaded tender documents become readable only after the tender opening by the authorized bid openers.

8) 	Upon the successful and timely submission of bids (i.e. after Clicking “Freeze Bid Submission” in the portal), the portal will give a successful bid submission message & a bid summary will be displayed with the bid no. and the date & time of submission of the bid with all other relevant details.

9) 	The bid summary has to be printed and kept as an acknowledgement of the submission of the bid. This acknowledgement may be used as an entry pass for any bid opening meetings.

ASSISTANCE TO BIDDERS

1) 	Any queries relating to the tender document and the terms and conditions contained therein should be addressed to the Tender Inviting Authority for a tender or the relevant contact person indicated in the tender.

2)	 Any queries relating to the process of online bid submission or queries relating to CPP Portal in general may be directed to the 24x7 CPP Portal Helpdesk.

| MTNL Contact |
| --- |
| MTNL Contact Person | AGM (MPL) , MTNL,Room No-111,Eastern Court New Delhi -110001 |
| Telephone/ Mobile | 011-23738634, Mobile No. 9013130115 |
| E- mail ID | agmmplnws@bol.net.in |

Some Bidding related Information for this Tender (Sealed Bid)

The entire bid-submission would be online on Central Public Procurement Portal website https://eprocure.gov.in/eprocure/app developed by National Informatics Centre (NIC), Ministry of Electronics & Information Technology, GOI (unless specified for Offline Submissions). Broad outline of submissions are as follows:

- Submission of Bid-Parts/ Envelopes

- Technical-Part

- Financial-Part

Offline Submissions:

The bidder is requested to submit the following documents offline to the under mentioned address before the following documents before closing date and time in a Sealed Envelope.

Contact Persons Name:    AGM (MPL) MTNL, Room No-111,Eastern court, New Delhi -11OO01

The envelope shall bear (the project name), the tender number and the words ‘DO NOT OPEN BEFORE’ (due date & time).

- Original copy of the Bid Security Declaration as per Annexure-H.

- DD/ Bankers cheque of Rs 2360 /- drawn in favour of Account Officer (Cash) Planning, Room No 301, 3rd floor Tax building Eastern Court Compound, Janpath, New Delhi-100001, payable at New Delhi  against payment of tender fee/ Copy of valid NSIC Certificate ( If applicable).

- General Power of Attorney in favour of Authorized Signatory.

- Indemnity Bond on Rs.100/- stamp paper as per Section-X (Duly Notarized)

- Hard copy of Techno commercial bid and Financial Bid sealed in separate Envelopes.

Note: The Bidder should also upload the scanned copies of the above original documents mentioned at Sl No.1 to 5 and Bid Security Declaration as per Annexure-H during Online Bid-Submission.

ANNEXURE-I

MAHANAGAR TELEPHONE NIGAM LIMITED

DELHI TELEPHONES, NEW DELHI

ELECTRONIC CLEARING SERVICE (CREDIT CLEARING)

(MODEL MANDATE FORM)

(To receive payment through Credit Clearing Mechanism)

1.   Contractor’s Name-

2.	PAN No.

3.	Particulars of Bank Account-

- Bank Name-

- Branch Name-

(c)	Address-

(d)	Telephone-

(e)  9 digit code Number of the Bank & Branch

(Appearing on the MICR cheque issued by the Bank)

(f)  Account No.

(g) Account Type-

(S.B.Account/Current Account or

Cash credit with code 10/11/19)

(h)  Ledger No/Ledger Folio No.

(As appearing on the cheque Book)

(i)   RTGS/ NEFT/ IFSC Code.

Please attach a Bank cancelled Cheque or photocopy of a cheque or front page of your  Savings Bank passbook issued by your Bank for verification of the above particulars.

- Date of Effect-

I hereby declare that the particulars given above are correct and complete. If the transaction is delayed or not effected at all for reasons of incomplete information or incorrect information. I wouldn’t hold user in question responsible. I have read the option invitation letter and agree to discharge responsibility expected of me as a participant under the scheme.

Date-	                                                                                                    Signature of Contractor

Certified that the particulars furnished above are correct as per our records.

Signature of the Authorized Official of the Bank

With bank seal

SECTION- XVII

Guidelines of MTNL on Banning of Business Dealings

1. Introduction

1.1 Mahanagar Telephone Nigam Limited (MTNL), being a Public Sector Enterprise and ‘State’, within the meaning of Article 12 of Constitution of India, has to ensure preservation of rights enshrined in Chapter III of the Constitution. MTNL has also to safeguard its commercial interests. MTNL deals with Agencies, who have a very high degree of integrity, commitments and sincerity towards the work undertaken. It is not in the interest of MTNL to deal with Agencies who commit deception, fraud or other misconduct in the execution of contracts awarded / orders issued to them. In order to ensure compliance with the constitutional mandate, it is incumbent on MTNL to observe principles of natural justice before banning the business dealings with any Agency.

1.2 Since banning of business dealings involves civil consequences for an Agency concerned, it is incumbent that adequate opportunity of hearing is provided and the explanation, if tendered, is considered before passing any order in this regard keeping in view the facts and circumstances of the case.

2. Scope

2.1 The General Conditions of Contract (GCC) of MTNL generally provide that MTNL reserves its rights to remove from list of approved suppliers / contractors or to ban business dealings if any bidder/contractor who has been found to have committed misconduct and also to suspend business dealings pending investigation.

2.2 However, absence of such a clause does not in any way restrict the right of Company (MTNL) to take action / decision under these guidelines in appropriate cases.

2.4 The procedure of (i) Suspension and (ii) Banning of Business Dealing with Agencies, has been laid down in these guidelines.

2.5 These guidelines apply to all the Units and subsidiaries of MTNL.

2.6 It is clarified that these guidelines do not deal with the decision of the Management not to entertain any particular Agency due to its poor / inadequate performance or for any other reason.

2.7 The banning shall be with prospective effect, i.e., future business dealings.

3. Definitions

In these Guidelines, unless the context otherwise requires:

i) ‘Party / Contractor / Supplier / Purchaser / Customer’ shall mean and include a public limited company or a private limited company, a firm whether registered or not, an individual, a cooperative society or an  association or a group of persons engaged in any commerce, trade, industry, etc. ‘Party / Contractor / Supplier /Purchaser / Customer’ in the context of these guidelines is indicated as ‘Agency’.

ii) ‘Inter-connected Agency’ shall mean two or more companies having any of the following features:

a) If one is a subsidiary of the other.

b) If the Director(s), Partner(s), Manager(s) or Representative(s) are common;

c) If management is common;

d) If one owns or controls the other in any manner;

iii) ‘Competent Authority’ and ‘Appellate Authority’ shall mean the following:

a) For Company Wide Banning (entire MTNL) the Director (Technical) shall be the ‘Competent Authority’ for the purpose of these guidelines. CMD, MTNL shall be the ‘Appellate Authority’ in respect of such cases except banning of business dealings with Suppliers of Imported Equipment.

b) For Units level banning: Any officer not below the rank of ED shall be the ‘Competent Authority’ for the purpose of these guidelines. The Director (Technical) shall be the ‘Appellate Authority’ in all such cases.

c) For banning of business dealings with Suppliers of Imported Equipment, MTNL Directors’ Committee (MDC), consisting of Director (Technical), Director (Finance), Director (HR) of MTNL, shall be the ‘Competent Authority’. The Appeal against the Order passed by MDC shall lie with CMD, as First Appellate Authority.

d) In case the foreign supplier is not satisfied by the decision of the First Appellate Authority, it may approach MTNL Board as Second Appellate Authority.

e) CMD, MTNL shall have overall power to take suo-moto action on any information available or received by him and pass such order(s) as he may think appropriate, including modifying the order(s) passed by any authority under these guidelines.

iv) ‘Investigating Department’ shall mean any Department or Unit investigating into the conduct of the Agency and shall include the Vigilance Department, Central Bureau of Investigation, the State Police or any other department set up by the Central or State Government having powers to investigate.

4. Initiation of Banning / Suspension:

Action for banning / suspension business dealings with any Agency should be initiated by the department having business dealings with them after noticing the irregularities or misconduct on their part.

5. Suspension of Business Dealings

5.1 If the conduct of any Agency dealing with MTNL is under investigation by any department (except Suppliers of Imported Equipment), the Competent Authority may consider whether the allegations under investigation are of a serious nature and whether pending investigation, it would be advisable to continue business dealing with the Agency. If the Competent Authority, after consideration of the matter including the recommendation of the Investigating Department, if any, decides that it would not be in the interest to continue business dealings pending investigation, it may suspend business dealings with the Agency. The order to this effect may indicate a brief of the charges under investigation. If it is decided that inter-connected Agencies would also come within the ambit of the order of suspension, the same should be specifically stated in the order. The order of such suspension would operate for a period not more than six months and may be communicated to the Agency as also to the Investigating Department.

The Investigating Department may ensure that their investigation is completed and whole process of final order is over within such period.

5.2 The order of suspension shall be communicated to all Departmental Heads within the Units. During the period of suspension, no business dealing may be held with the Agency.

5.3 As far as possible, the existing contract(s) with the Agency may be continued unless the Competent Authority, having regard to the circumstances of the case, decides otherwise.

5.4 If the gravity of the misconduct under investigation is very serious and it would not be in the interest of MTNL, as a whole, to deal with such an Agency pending investigation, the Competent Authority may send his recommendation to Corporate Office along with the material available. If Corporate Office considers that depending upon the gravity of the misconduct, it would not be desirable for all the Units and Subsidiaries of MTNL to have any dealings with the Agency concerned, an order suspending business dealings may be issued to all the Units by the Competent Authority of the Corporate Office, copy of which may be endorsed to the Agency concerned. Such an order would operate for a period of six months from the date of issue.

5.5 For suspension of business dealings with Suppliers of Imported Equipment following shall be the procedure: -

i) Suspension of the foreign suppliers shall apply through out the Company including Subsidiaries.

ii) If gravity of the misconduct under investigation is found serious and it is felt that it would not be in the interest of MTNL to continue to deal with such agency, pending investigation, Unit dealing with agency may send such recommendation on the matter to a Committee consisting of the following:

1. ED (Operations), C.O.MTNL

2. ED (Delhi), MTNL

3. ED (Mumbai), MTNL

4. Legal Advisor (Corporate Office)

The committee shall expeditiously examine the report; give its comments/recommendations within twenty one days.

iii) The comments / recommendations of the Committee shall then be placed before MTNL Directors’ Committee (MDC). If MDC opines that it is a fit case for suspension, MDC may pass necessary orders which shall be communicated to the supplier of Imported Equipment.

5.6 If the Agency concerned asks for detailed reasons of suspension, the Agency may be informed that its conduct is under investigation. It is not necessary to enter into correspondence or argument with the Agency at this stage.

5.7 It is not necessary to give any show-cause notice or personal hearing to the Agency before issuing the order of suspension. However, if investigations are not complete in six months time, the Competent Authority may extend the period of suspension by another three months, during which period the investigations must be completed.

6. Ground on which Banning of Business Dealings can be initiated

6.1 If the security consideration, including questions of loyalty of the Agency to the State, so warrants;

6.2 If the Director / Owner of the Agency, proprietor or partner of the firm, is convicted by a Court of Law for offences involving moral turpitude in relation to its business dealings with the Government or any other public sector enterprises or MTNL, during the last five years;

6.3 If there is strong justification for believing that the Directors, Proprietors, Partners, owner of the Agency have been guilty of malpractices such as bribery, corruption, fraud, substitution of tenders, interpolations, etc;

6.4 If the Agency continuously refuses to return / refund the dues of MTNL without showing adequate reason and this is not due to any reasonable dispute which would attract proceedings in arbitration or Court of Law;

6.5 If the Agency employs a public servant dismissed / removed or employs a person convicted for an offence involving corruption or abetment of such offence;

6.6 If business dealings with the Agency have been banned by the Govt. or any other public sector enterprise;

6.7 If the Agency has resorted to Corrupt, fraudulent practices including

misrepresentation of facts;

6.8 If the Agency uses intimidation / threatening or brings undue outside pressure on the Company (MTNL) or its official in acceptance / performances of the job under the contract;

6.9 If the Agency indulges in repeated and / or deliberate use of delay tactics in complying with contractual stipulations;

6.10 Willful indulgence by the Agency in supplying sub-standard material irrespective of whether pre-dispatch inspection was carried out by Company (MTNL) or not;

6.11 Based on the findings of the investigation report of CBI / Police against the Agency for malafide / unlawful acts or improper conduct on his part in matters relating to the Company (MTNL) or even otherwise;

6.12 Established litigant nature of the Agency to derive undue benefit;

6.13 Continued poor performance of the Agency in several contracts;

6.14 If the Agency misuses the premises or facilities of the Company (MTNL), forcefully occupies, tampers or damages the Company’s properties including land, water resources, forests / trees, etc.

(Note: The examples given above are only illustrative and not exhaustive. The Competent Authority may decide to ban business dealing for any good and sufficient reason).

7. Banning of Business Dealings

7.1 Normally, a decision to ban business dealings with any Agency should apply throughout the Company including Subsidiaries. However, the Competent Authority of the Unit except Corporate Office can impose such ban unit-wise only if in the particular case banning of business dealings by respective Unit will serve the purpose and achieve its objective and banning throughout the Company is not required in view of the local conditions and impact of the misconduct /default to beyond the Unit. Any ban imposed by Corporate Office shall be applicable across all Units of the Company including Subsidiaries.

7.2 For Company-wide banning, the proposal should be sent through the ED of the Unit setting out the facts of the case and the justification of the action proposed along with all the relevant papers and documents except for banning of business dealings with Foreign Suppliers.

The Corporate Office shall process the proposal of the Unit for a prima- facie view in the matter by the Competent Authority nominated for Company-wide banning.

If the prima-facie decision for Company-wide banning has been taken, the Corporate Office shall issue a show-cause notice to the agency conveying why it should not be banned throughout MTNL.

After considering the reply of the Agency and other circumstances and facts of the case, a final decision for Company-wide banning shall be taken by the Competent Authority.

7.3 There will be a Standing Committee in Corporate Office and each Unit to be appointed by Director (Technical) & ED respectively for processing the cases of “Banning of Business Dealings” except for banning of business dealings with suppliers of Imported Equipment. The functions of the committee shall, inter-alia include:

i) To study the report of the Investigating Agency and decide if a prima-facie case for Company-wide / Local unit wise banning exists, if not, send back the case to the Competent Authority.

ii) To recommend for issue of show-cause notice to the Agency by the concerned department.

iii) To examine the reply to show-cause notice and call the Agency for personal hearing, if required.

iv) To submit final recommendation to the Competent Authority for banning or otherwise.

7.4 If the Competent Authority is prima-facie of view that action for banning business dealings with the Agency is called for, a show-cause notice may be issued to the Agency as per paragraph 8.1 and an enquiry held accordingly.

7.5 Procedure for Banning of Business Dealings with Suppliers of Imported Equipment.

i) Banning of the agencies shall apply through out the Company including Subsidiaries.

ii) Depending upon the gravity of the alleged misconduct the investigation report with all relevant details shall be placed before a Committee consisting of the following :-

1. ED (Operations), C.O.MTNL

2. ED (Delhi), MTNL

3. ED (Mumbai), MTNL

4. Legal Advisor (Corporate Office

The Committee shall examine the proposal and give its comments / recommendations within 21 days.

iii) The comments / recommendations of the Committee shall be placed before MTNL Directors’ Committee (MDC). If MDC opines that it is a fit case for initiating banning action, it will direct to issue show-cause notice to the agency for replying within a reasonable period.

iv) On receipt of the reply or on expiry of the stipulated period, MDC will consider & award decision on case.

v) The decision of the MDC shall be communicated to the agency.

8. Show-cause Notice

8.1 In case where the Competent Authority decides that action against an Agency is called for, a show-cause notice has to be issued to the Agency. Statement containing the imputation of misconduct or misbehavior may be appended to the show-cause notice and the Agency should be asked to submit within 15 days a written statement in its defense.

8.2 If the Agency requests for inspection of any relevant document in possession of MTNL, necessary facility for inspection of documents may be provided.

8.3 The Competent Authority may consider and pass an appropriate speaking order:

a) For exonerating the Agency if the charges are not established;

b) For banning the business dealing with the Agency.

8.4 If it decides to ban business dealings, the period for which the ban would be operative may be mentioned. The order may also mention that the ban would extend to the interconnected Agencies of the Agency.

9. Appeal against the Decision of the Competent Authority

9.1 The Agency may file an appeal against the order of the Competent Authority banning business dealing, etc. The appeal shall lie to Appellate Authority. Such an appeal shall be preferred within one month from the date of receipt of the order banning business dealing, etc.

9.2 Appellate Authority would consider the appeal and pass appropriate order which shall be communicated to the Agency as well as the Competent Authority.

10. Review of the Decision by the Competent Authority

Any petition / application filed by the Agency concerning the review of the banning order passed originally by Competent Authority under the existing guidelines either before or after filing of appeal before the Appellate Authority or after disposal of appeal by the Appellate Authority, the review petition can be decided by the Competent Authority upon disclosure of new facts /circumstances or subsequent development necessitating such review. The Competent Authority may refer the same petition to the Standing Committee for examination and recommendation.

11. Circulation of the names of Agencies with whom Business Dealings have been banned.

11.1 Depending upon the gravity of misconduct established, the Competent Authority of the Corporate Office may circulate the names of Agency with whom business dealings have been banned, to the Government Departments, other Public Sector Enterprises, etc. for such action as they deem appropriate.

11.2 If Government Departments or a Public Sector Enterprise request for more information about the Agency with whom business dealings have been banned, a copy of the report of Inquiring Authority together with a copy of the order of the Competent Authority / Appellate Authority may be supplied.

11.3 If business dealings with any Agency have been banned by the Central or State Government or any other Public Sector Enterprise, MTNL may, without any further enquiry or investigation, issue an order banning business dealing with the Agency and its inter-connected Agencies.

11.4 Based on the above, Units may formulate their own procedure for implementation of the Guidelines.

Section XVIII

## INTEGRITY PACT

Between

Mahanagar Telephone Nigam Limited (MTNL) hereinafter referred to as “The Principal”

And

……………………………………………….hereinafter referred to as “The Bidder/Contractor”

# Preamble

The Principal intends to award, under laid down organizational procedures, contract/s for ………………….. The Principal values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness/transparency in its relations with its Bidder(s) and/or Contractor (s).

In order to achieve these goals, the Principal has appointed an Independent External Monitor (IEM), who will monitor the tender process and the execution of the contract for compliance with the principles mentioned above.

### Section 1 - Commitments of the Principal

(1)	The Principal commits itself to take all measures necessary to prevent corruption and to observe the following principles:

  - PRINCIPAL is committed to have most ethical and corruption free business dealings with Bidder(s)/contractor(s).

  - No employee of the Principal, personally or through family members, will in connection with the tender for, or the execution of a contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitled to.

  - The Principal will, during the tender process treat all Bidder(s) with equity and reason and will deal with them in a fair and transparent manner.  The Principal will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.

  - The Principal will exclude from the process all known prejudiced persons.

  - PRINCIPAL will honour its commitments and make due payments to the Bidder(s)/Contractor(s) in a timely manner.

  - PRINCIPAL will initiate action and pursue it vigorously whenever unethical behavior occurs or is suspected to have occurred.

(2)                  If the Principal obtains information on the conduct of any of its employees which is a criminal offence under the IPC/PC Act, or if there be a substantive suspicion in this regard, the Principal will inform the Corporate Vigilance Office and in addition can initiate disciplinary actions.

Section 2 - Commitments of the Bidder(s)/Contractor(s)

(1)	The Bidder(s)/Contractor(s) commit himself to take all measures necessary to prevent corruption.  He commits himself to observe the following principles during his participation in the tender process and during the contract execution.

(a)  The Bidder(s)/Contractor(s) will not, directly or through any other person or firm, offer, promise or give to any of the Principal’s employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the contract.

(b) The Bidder(s)/Contractor(s) will not enter with other Bidders into any undisclosed agreement or understanding, whether formal or informal.  This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelisation in the bidding process.

©The Bidder(s)/Contractor(s) will not commit any offence under the relevant IPC/PC Act; further the Bidder(s)/Contractor(s) will not use impropriety, for purposes of competition or personal gain, or pass on to others, any information or document provided by the Principal as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.

(d) The Bidder(s)/Contractor(s) will, when presenting his bid, disclose any and all payments he has made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract.

(e)The Bidder(s)/Contractor(s) will not make any false or misleading allegations against the principal or its associates.

(f)The Bidder/Contractor will not bring any Political, Governmental or Diplomatic influence to gain undue advantage in its dealing with PRINCIPAL.

(g)The Bidder(s)/Contractor(s) will promote and observe best ethical practices within its organization.

(h)The Bidder(s)/Contractor(s) will promptly inform the Independent Monitor (of PRINCIPAL) If he receives demand for a bribe or illegal payment/benefit and

(i)If comes to know of any unethical or illegal practice in PRINCIPAL.

(ii)If he makes any payment to any PRINCIPAL Associate.

(2)	The Bidder(s)/Contractor(s) will not instigate third persons to commit offences outlined above or be an accessory to such offences.

Section 3 - Disqualification from tender process and exclusion from future contracts.

If the Bidder(s)/Contractor(s) before award or during execution has committed a transgression through a violation of Section 2, above or in any other form such as to put his reliability or credibility in question, the Principal is entitled to disqualify the Bidder(s)/Contractor (s) from the tender process or take action as per the procedure mentioned in the “Guidelines on Banning of business dealings”. Copy of the “Guidelines on Banning of Business Dealings” is annexed and marked as Part-H.

#### Section 4 -  Compensation for Damages

#### Deleted.

#### (ii)	If the Principal has terminated the contract according to Section 3, or if the Principal is 	entitled to terminate the contract according to Section 3, the Principal shall be entitled to 	demand and recover from the Contractor the amount equivalent to Security 	Deposit/Performance Bank Guarantee in addition to any other penalties/recoveries as per 	terms and conditions of the tender.

Section 5 -  Previous transgression

(i)	The Bidder declares that no previous transgressions occurred in the last 3 years with any other Company in any country conforming to the anti corruption approach or with any other Public Sector Enterprise in India that could justify his exclusion from the tender process.

(ii)	If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or action can be taken as per the procedure mentioned in “Guidelines on Banning of business dealings”.

Section 6 – Equal treatment of all Bidders/ Contractors/ Subcontractors

(i)	The Principal will enter into agreements with identical conditions as this one with all Bidders/Contractors.

- The Bidder(s)/Contractor(s) undertake(s) to demand from all subcontractors a commitment in conformity with this Integrity Pact.

- The Principal will disqualify from the tender process all bidders who do not sign this Pact or violate its provisions.

Section 7 - Criminal charges against violating Bidder(s) / Contractor(s) / Subcontractor(s)

If the Principal obtains knowledge of conduct of a Bidder, Contractor or Subcontractors, or of an employee or a representative or an associate of a Bidder, Contractor or Subcontractor which constitutes corruption, or if the Principal has substantive suspicion in this regard, the Principal will inform the same to the Corporate Vigilance Office and may initiate criminal proceedings against the violating Bidder(s)/Contractor(s).

Section 8 – Independent External Monitor/Monitors

- The Principal has appointed competent and credible Independent External Monitor for this Pact. The task of the Monitor is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement.

- The Monitor is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the CMD, MTNL.

- The Bidder(s)/Contractor(s) accepts that the Monitor has the right to access without restriction to all Project documentation of the Principal including that provided by the Contractor. The Contractor will also grant the Monitor, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his project documentation. The same is applicable to Subcontractors. The Monitor is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.

- The Principal will provide to the Monitor sufficient information about all meetings among the parties related to the Project provided such meetings could have an impact on the contractual relations between the Principal and the Contractor. The parties offer to the Monitor the option to participate in such meetings.

- As soon as the Monitor notices, or believes to notice, a violation of this agreement, he will so inform the Management of the Principal and request the Management to discontinue or take corrective action, or to take other relevant action. The monitor can in this regard submit nonbinding recommendations. Beyond this the Monitor has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action.

- The Monitor will submit a written report to the CMD, MTNL within 8 to 10 weeks from the date of reference or intimation to him by the principal and, should the occasion arise, submit proposals for correcting problematic situations.

- If the Monitor has reported to the CMD, MTNL, a substantiated suspicion of an offence under relevant IPC/PC Act, and the MTNL has not, within the reasonable time taken visible action to proceed against such offence or reported it to the Corporate Vigilance Office, the Monitor may also transmit this information directly to the Central Vigilance Commissioner.

- The word ‘Monitor’ would include both singular and plural.

Section 9 – Pact Duration

This pact begins when both parties have legally signed it. It expires for the Contractor 12 months after the last payment under the contract, and for all other Bidders 6 months after the contract has been awarded.

If any claim is made / lodged during this time, the same shall be binding and continue to be valid despite the lapse of this pact as specified above, unless it is discharged / determined by CMD, MTNL.

[[Section 10 – Other provisions

- This agreement is subject to Indian Law, place of performance and jurisdiction is the Registered Office of the Principal, i.e. New Delhi. The arbitration clause provided in the tender document/contract shall not be applicable for any issue/dispute arising under Integrity Pact.

- Changes and supplements as well as termination notice need to be made in writing.

- If the Contractor is a partnership firm or a consortium, this agreement must be signed by all partners or consortium members.

- Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.

_________________________                 			      	 _________________________

(For & On behalf of the Principal) 		(For & On behalf of Bidder/Contractor)

(Office Seal)							(Office Seal)

Place -------------------

Date   -------------------

Witness 1:

(Name & Address) _____________

__________________________

__________________________

Witness 2:

(Name & Address) _____________

__________________________

__________________________

__________________________

Note:  If the Contractor is a partnership firm or a consortium, this agreement must be signed by all partners or consortium members